## Sheet1
ADDRESS | FAULT NAME | FAULT ID
2 | GRID OVERVOLTAGE | 1
3 | GRID OVERVOLTAGE | 1
4 | GRID UNDERVOLTAGE | 2
5 | GRID UNDERVOLTAGE | 2
7 | System Fault | 21
8 | GRID OVERFREQUENCY | 3
9 | GRID UNDERFREQUENCY | 5
10 | GRID POWER OUTAGE | 5
11 | System Fault | 21
12 | EXCESS LEAKAGE CURRENT | 6
13 | GRID ABNORMAL | 7
14 | GRID OVERVOLTAGE | 1
15 | GRID OVERVOLTAGE | 1
16 | System Fault | 21
17 | GRID VOLTAGE IMBALANCE | 8
19 | System Fault | 21
20 | System Fault | 21
21 | System Fault | 21
22 | System Fault | 21
23 | System Fault | 21
24 | System Fault | 21
25 | System Fault | 21
28 | PV RESERVE CONNECTION FAULT | 9
29 | PV RESERVE CONNECTION FAULT | 9
30 | System Fault | 21
31 | System Fault | 21
32 | System Fault | 21
33 | System Fault | 21
34 | System Fault | 21
36 | System Fault | 21
37 | Excessively High Ambient Temperature | 12
38 | System Fault | 21
39 | Low System Insulation Resistance | 14
40 | System Fault | 21
41 | System Fault | 21
42 | System Fault | 21
43 | Excessively Low Ambient Temperature | 13
44 | System Fault | 21
45 | System Fault | 21
46 | System Fault | 21
47 | System Fault | 21
48 | System Fault | 21
49 | System Fault | 21
50 | System Fault | 21
52 | System Fault | 21
53 | System Fault | 21
54 | System Fault | 21
55 | System Fault | 21
56 | System Fault | 21
57 | System Fault | 21
58 | System Fault | 21
59 | System Alarm | 22
60 | System Fault | 21
61 | System Fault | 21
62 | System Fault | 21
63 | System Fault | 21
64 | System Fault | 21
65 | System Fault | 21
66 | System Fault | 21
67 | System Fault | 21
68 | System Fault | 21
70 | System Alarm | 22
71 | System Alarm | 22
72 | System Alarm | 22
74 | System Alarm | 22
75 | Inverter Parallel Communication Alarm | 20
76 | System Alarm | 22
77 | System Alarm | 22
78 | System Alarm | 22
79 | System Alarm | 22
80 | System Alarm | 22
81 | System Alarm | 22
82 | System Alarm | 22
83 | System Alarm | 22
84 | Reverse Connection Alarm of the Meter/CT | 17
85 | System Fault | 21
87 | System Fault | 21
88 | Electric Arc Fault | 16
89 | System Alarm | 22
92 | System Fault | 21
93 | System Fault | 21
100 | System Fault | 21
101 | System Fault | 21
102 | System Fault | 21
103 | System Fault | 21
104 | System Fault | 21
105 | System Fault | 21
106 | Grounding Cable Fault | 15
107 | System Fault | 21
108 | System Fault | 21
109 | System Fault | 21
110 | System Fault | 21
111 | System Fault | 21
112 | System Fault | 21
113 | System Fault | 21
114 | System Fault | 21
116 | System Fault | 21
117 | System Fault | 21
118 | System Fault | 21
119 | System Fault | 21
120 | System Fault | 21
121 | System Fault | 21
122 | System Fault | 21
123 | System Fault | 21
124 | System Fault | 21
200 | System Fault | 21
201 | System Fault | 21
202 | System Fault | 21
203 | System Fault | 21
204 | System Fault | 21
205 | System Fault | 21
206 | System Fault | 21
207 | System Fault | 21
208 | PV RESERVE CONNECTION FAULT | 9
208 | System Fault | 21
209 | System Fault | 21
210 | System Fault | 21
211 | System Fault | 21
216 | System Alarm | 22
217 | System Alarm | 22
218 | System Alarm | 22
220 | System Alarm | 22
221 | System Alarm | 22
222 | System Alarm | 22
223 | System Alarm | 22
224 | System Alarm | 22
225 | System Alarm | 22
226 | System Alarm | 22
227 | System Alarm | 22
228 | System Alarm | 22
229 | System Alarm | 22
230 | System Alarm | 22
231 | System Alarm | 22
248 | System Fault | 21
249 | System Fault | 21
250 | System Fault | 21
251 | System Fault | 21
252 | System Fault | 21
253 | System Fault | 21
254 | System Fault | 21
255 | System Fault | 21
264 | MPPT Reverse Connection | 23
265 | MPPT Reverse Connection | 23
266 | MPPT Reverse Connection | 23
267 | MPPT Reverse Connection | 23
268 | MPPT Reverse Connection | 23
269 | MPPT Reverse Connection | 23
270 | MPPT Reverse Connection | 23
271 | MPPT Reverse Connection | 23
272 | MPPT Reverse Connection | 23
273 | MPPT Reverse Connection | 23
274 | MPPT Reverse Connection | 23
275 | MPPT Reverse Connection | 23
276 | MPPT Reverse Connection | 23
277 | MPPT Reverse Connection | 23
278 | MPPT Reverse Connection | 23
279 | MPPT Reverse Connection | 23
280 | MPPT Reverse Connection | 23
281 | MPPT Reverse Connection | 23
282 | MPPT Reverse Connection | 23
283 | MPPT Reverse Connection | 23
300 | System Fault | 21
301 | System Fault | 21
302 | System Fault | 21
303 | System Fault | 21
304 | System Fault | 21
305 | System Fault | 21
306 | System Fault | 21
307 | System Fault | 21
308 | System Fault | 21
309 | System Fault | 21
310 | System Fault | 21
311 | System Fault | 21
312 | System Fault | 21
313 | System Fault | 21
314 | System Fault | 21
315 | System Fault | 21
316 | System Fault | 21
317 | System Fault | 21
318 | System Fault | 21
319 | System Fault | 21
320 | System Fault | 21
321 | System Fault | 21
322 | System Fault | 21
323 | Grid Confrontation | 19
324 | System Fault | 21
325 | System Fault | 21
326 | System Fault | 21
332 | Boost Capacitor Overvoltage Alarm | 24
333 | Boost Capacitor Overvoltage Alarm | 24
334 | Boost Capacitor Overvoltage Alarm | 24
335 | Boost Capacitor Overvoltage Alarm | 24
336 | Boost Capacitor Overvoltage Alarm | 24
337 | Boost Capacitor Overvoltage Alarm | 24
338 | Boost Capacitor Overvoltage Alarm | 24
339 | Boost Capacitor Overvoltage Alarm | 24
340 | Boost Capacitor Overvoltage Alarm | 24
341 | Boost Capacitor Overvoltage Alarm | 24
342 | Boost Capacitor Overvoltage Alarm | 24
343 | Boost Capacitor Overvoltage Alarm | 24
344 | Boost Capacitor Overvoltage Alarm | 24
345 | Boost Capacitor Overvoltage Alarm | 24
346 | Boost Capacitor Overvoltage Alarm | 24
347 | Boost Capacitor Overvoltage Alarm | 24
348 | Boost Capacitor Overvoltage Alarm | 24
349 | Boost Capacitor Overvoltage Alarm | 24
350 | Boost Capacitor Overvoltage Alarm | 24
351 | Boost Capacitor Overvoltage Alarm | 24
352 | Boost Capacitor Overvoltage Alarm | 24
353 | Boost Capacitor Overvoltage Alarm | 24
354 | Boost Capacitor Overvoltage Alarm | 24
355 | Boost Capacitor Overvoltage Alarm | 24
356 | Boost Capacitor Overvoltage Alarm | 24
357 | Boost Capacitor Overvoltage Alarm | 24
358 | Boost Capacitor Overvoltage Alarm | 24
359 | Boost Capacitor Overvoltage Alarm | 24
360 | Boost Capacitor Overvoltage Alarm | 24
361 | Boost Capacitor Overvoltage Alarm | 24
362 | Boost Capacitor Overvoltage Alarm | 24
363 | Boost Capacitor Overvoltage Alarm | 24
364 | Boost Capacitor Overvoltage Fault | 25
365 | Boost Capacitor Overvoltage Fault | 25
366 | Boost Capacitor Overvoltage Fault | 25
367 | Boost Capacitor Overvoltage Fault | 25
368 | Boost Capacitor Overvoltage Fault | 25
369 | Boost Capacitor Overvoltage Fault | 25
370 | Boost Capacitor Overvoltage Fault | 25
371 | Boost Capacitor Overvoltage Fault | 25
372 | Boost Capacitor Overvoltage Fault | 25
373 | Boost Capacitor Overvoltage Fault | 25
374 | Boost Capacitor Overvoltage Fault | 25
375 | Boost Capacitor Overvoltage Fault | 25
376 | Boost Capacitor Overvoltage Fault | 25
377 | Boost Capacitor Overvoltage Fault | 25
378 | Boost Capacitor Overvoltage Fault | 25
379 | Boost Capacitor Overvoltage Fault | 25
380 | Boost Capacitor Overvoltage Fault | 25
381 | Boost Capacitor Overvoltage Fault | 25
382 | Boost Capacitor Overvoltage Fault | 25
383 | Boost Capacitor Overvoltage Fault | 25
384 | Boost Capacitor Overvoltage Fault | 25
385 | Boost Capacitor Overvoltage Fault | 25
386 | Boost Capacitor Overvoltage Fault | 25
387 | Boost Capacitor Overvoltage Fault | 25
388 | Boost Capacitor Overvoltage Fault | 25
389 | Boost Capacitor Overvoltage Fault | 25
390 | Boost Capacitor Overvoltage Fault | 25
391 | Boost Capacitor Overvoltage Fault | 25
392 | Boost Capacitor Overvoltage Fault | 25
393 | Boost Capacitor Overvoltage Fault | 25
394 | Boost Capacitor Overvoltage Fault | 25
395 | Boost Capacitor Overvoltage Fault | 25
401 | System Fault | 21
402 | System Fault | 21
403 | System Fault | 21
404 | System Fault | 21
405 | System Fault | 21
406 | System Fault | 21
407 | System Fault | 21
408 | System Fault | 21
409 | System Fault | 21
410 | System Fault | 21
411 | System Fault | 21
412 | System Fault | 21
432 | System Alarm | 22
433 | System Alarm | 22
434 | System Alarm | 22
448 | PV RESERVE CONNECTION FAULT | 9
449 | PV RESERVE CONNECTION FAULT | 9
450 | PV RESERVE CONNECTION FAULT | 9
451 | PV RESERVE CONNECTION FAULT | 9
452 | PV RESERVE CONNECTION FAULT | 9
453 | PV RESERVE CONNECTION FAULT | 9
454 | PV RESERVE CONNECTION FAULT | 9
455 | PV RESERVE CONNECTION FAULT | 9
456 | PV RESERVE CONNECTION FAULT | 9
457 | PV RESERVE CONNECTION FAULT | 9
458 | PV RESERVE CONNECTION FAULT | 9
459 | PV RESERVE CONNECTION FAULT | 9
460 | PV RESERVE CONNECTION FAULT | 9
461 | PV RESERVE CONNECTION FAULT | 9
462 | PV RESERVE CONNECTION FAULT | 9
463 | PV RESERVE CONNECTION FAULT | 9
464 | PV RESERVE CONNECTION FAULT | 9
465 | PV RESERVE CONNECTION FAULT | 9
466 | PV RESERVE CONNECTION FAULT | 9
467 | PV RESERVE CONNECTION FAULT | 9
468 | PV RESERVE CONNECTION FAULT | 9
469 | PV RESERVE CONNECTION FAULT | 9
470 | PV RESERVE CONNECTION FAULT | 9
471 | PV RESERVE CONNECTION FAULT | 9
472 | PV RESERVE CONNECTION FAULT | 9
473 | PV RESERVE CONNECTION FAULT | 9
474 | PV RESERVE CONNECTION FAULT | 9
475 | PV RESERVE CONNECTION FAULT | 9
476 | PV RESERVE CONNECTION FAULT | 9
477 | PV RESERVE CONNECTION FAULT | 9
478 | PV RESERVE CONNECTION FAULT | 9
479 | PV RESERVE CONNECTION FAULT | 9
500 | System Alarm | 22
501 | System Alarm | 22
502 | System Alarm | 22
503 | System Alarm | 22
504 | System Alarm | 22
505 | System Alarm | 22
506 | System Alarm | 22
507 | System Alarm | 22
508 | System Alarm | 22
509 | System Alarm | 22
510 | System Alarm | 22
511 | System Alarm | 22
512 | System Alarm | 22
513 | System Alarm | 22
514 | Meter Communication Abnormal Alarm | 18
515 | System Alarm | 22
516 | System Alarm | 22
517 | System Alarm | 22
518 | System Alarm | 22
532 | PV RESERVE CONNECTION ALARM | 10
533 | PV RESERVE CONNECTION ALARM | 10
534 | PV RESERVE CONNECTION ALARM | 10
535 | PV RESERVE CONNECTION ALARM | 10
536 | PV RESERVE CONNECTION ALARM | 10
537 | PV RESERVE CONNECTION ALARM | 10
538 | PV RESERVE CONNECTION ALARM | 10
539 | PV RESERVE CONNECTION ALARM | 10
540 | PV RESERVE CONNECTION ALARM | 10
541 | PV RESERVE CONNECTION ALARM | 10
542 | PV RESERVE CONNECTION ALARM | 10
543 | PV RESERVE CONNECTION ALARM | 10
544 | PV RESERVE CONNECTION ALARM | 10
545 | PV RESERVE CONNECTION ALARM | 10
546 | PV RESERVE CONNECTION ALARM | 10
547 | PV RESERVE CONNECTION ALARM | 10
548 | PV ABNORMAL ALARM | 11
549 | PV ABNORMAL ALARM | 11
550 | PV ABNORMAL ALARM | 11
551 | PV ABNORMAL ALARM | 11
552 | PV ABNORMAL ALARM | 11
553 | PV ABNORMAL ALARM | 11
554 | PV ABNORMAL ALARM | 11
555 | PV ABNORMAL ALARM | 11
556 | PV ABNORMAL ALARM | 11
557 | PV ABNORMAL ALARM | 11
558 | PV ABNORMAL ALARM | 11
559 | PV ABNORMAL ALARM | 11
560 | PV ABNORMAL ALARM | 11
561 | PV ABNORMAL ALARM | 11
562 | PV ABNORMAL ALARM | 11
563 | PV ABNORMAL ALARM | 11
564 | PV RESERVE CONNECTION ALARM | 10
565 | PV RESERVE CONNECTION ALARM | 10
566 | PV RESERVE CONNECTION ALARM | 10
567 | PV RESERVE CONNECTION ALARM | 10
568 | PV RESERVE CONNECTION ALARM | 10
569 | PV RESERVE CONNECTION ALARM | 10
570 | PV RESERVE CONNECTION ALARM | 10
571 | PV RESERVE CONNECTION ALARM | 10
572 | PV RESERVE CONNECTION ALARM | 10
573 | PV RESERVE CONNECTION ALARM | 10
574 | PV RESERVE CONNECTION ALARM | 10
575 | PV RESERVE CONNECTION ALARM | 10
576 | PV RESERVE CONNECTION ALARM | 10
577 | PV RESERVE CONNECTION ALARM | 10
578 | PV RESERVE CONNECTION ALARM | 10
579 | PV RESERVE CONNECTION ALARM | 10
580 | PV ABNORMAL ALARM | 11
581 | PV ABNORMAL ALARM | 11
582 | PV ABNORMAL ALARM | 11
583 | PV ABNORMAL ALARM | 11
584 | PV ABNORMAL ALARM | 11
585 | PV ABNORMAL ALARM | 11
586 | PV ABNORMAL ALARM | 11
587 | PV ABNORMAL ALARM | 11
588 | PV ABNORMAL ALARM | 11
589 | PV ABNORMAL ALARM | 11
590 | PV ABNORMAL ALARM | 11
591 | PV ABNORMAL ALARM | 11
592 | PV ABNORMAL ALARM | 11
593 | PV ABNORMAL ALARM | 11
594 | PV ABNORMAL ALARM | 11
595 | PV ABNORMAL ALARM | 11
600 | System Fault | 21
601 | System Fault | 21
602 | System Fault | 21
603 | System Fault | 21
605 | System Fault | 21
606 | System Fault | 21
607 | System Fault | 21
608 | System Fault | 21
612 | System Fault | 21
616 | System Fault | 21
620 | System Fault | 21
622 | System Fault | 21
623 | System Fault | 21
624 | System Fault | 21
635 | System Alarm | 22
636 | System Alarm | 22
637 | System Alarm | 22
638 | System Alarm | 22
800 | System Fault | 21
802 | System Fault | 21
804 | System Fault | 21
807 | System Fault | 21
900 | System Alarm | 22
901 | System Alarm | 22
910 | System Alarm | 22
911 | System Alarm | 22
1096 | System Fault | 21
1097 | System Fault | 21
1098 | System Fault | 21
1099 | System Fault | 21
1100 | System Fault | 21
1101 | System Fault | 21
1102 | System Fault | 21
1103 | System Fault | 21
1104 | System Fault | 21
1105 | System Fault | 21
1106 | System Fault | 21
1107 | System Fault | 21
1108 | System Fault | 21
1109 | System Fault | 21
1110 | System Fault | 21
1111 | System Fault | 21
1112 | System Fault | 21
1113 | System Fault | 21
1114 | System Fault | 21
1115 | System Fault | 21
1116 | System Fault | 21
1117 | System Fault | 21
1118 | System Fault | 21
1119 | System Fault | 21
1120 | System Fault | 21
1121 | System Fault | 21
1122 | System Fault | 21
1548 | String Current Reflux | 26
1549 | String Current Reflux | 26
1550 | String Current Reflux | 26
1551 | String Current Reflux | 26
1552 | String Current Reflux | 26
1553 | String Current Reflux | 26
1554 | String Current Reflux | 26
1555 | String Current Reflux | 26
1556 | String Current Reflux | 26
1557 | String Current Reflux | 26
1558 | String Current Reflux | 26
1559 | String Current Reflux | 26
1560 | String Current Reflux | 26
1561 | String Current Reflux | 26
1562 | String Current Reflux | 26
1563 | String Current Reflux | 26
1564 | String Current Reflux | 26
1565 | String Current Reflux | 26
1566 | String Current Reflux | 26
1567 | String Current Reflux | 26
1568 | String Current Reflux | 26
1569 | String Current Reflux | 26
1570 | String Current Reflux | 26
1571 | String Current Reflux | 26
1572 | String Current Reflux | 26
1573 | String Current Reflux | 26
1574 | String Current Reflux | 26
1575 | String Current Reflux | 26
1576 | String Current Reflux | 26
1577 | String Current Reflux | 26
1578 | String Current Reflux | 26
1579 | String Current Reflux | 26
1600 | PV Grounding Fault | 27
1601 | PV Grounding Fault | 27
1602 | PV Grounding Fault | 27
1603 | PV Grounding Fault | 27
1604 | PV Grounding Fault | 27
1605 | PV Grounding Fault | 27
1606 | PV Grounding Fault | 27
1607 | PV Grounding Fault | 27
1608 | PV Grounding Fault | 27
1609 | PV Grounding Fault | 27
1610 | PV Grounding Fault | 27
1611 | PV Grounding Fault | 27
1616 | System Hardware Fault | 28

## Sheet2
1 | Grid Overvoltage
2 | Grid Undervoltage
3 | Grid Overfrequency
4 | Grid Underfrequency
5 | Grid Power Outage
6 | Excess Leakage Current
7 | Grid Abnormal
8 | Grid Voltage Imbalance
9 | PV Reserve Connection Fault
10 | PV Reverse Connection Alarm
11 | PV Abnormal Alarm
12 | Excessively High Ambient Temperature
13 | Excessively Low Ambient Temperature
14 | Low System Insulation Resistance
15 | Grounding Cable Fault
16 | Electric Arc Fault
17 | Reverse Connection Alarm of the Meter/CT
18 | Meter Communication Abnormal Alarm
19 | Grid Confrontation
20 | Inverter Parallel Communication Alarm
21 | System Fault
22 | System Alarm
23 | MPPT Reverse Connection
24 | Boost Capacitor Overvoltage Alarm
25 | Boost Capacitor Overvoltage Fault
26 | String Current Reflux
27 | PV Grounding Fault
28 | System Hardware Fault