## Sheet1
ANALOG TAG NAME | MQTT_TAGS | DIGITAL TAG NAME
RAIN | WMS_RAIN | INC_CB_STAT
AMB TEMP | WMS_TEMP | OG1_CB_STAT
MOD TEMP | WMS_MOD_TEMP | OG2_CB_STAT
HUMIDITY | WMS_HUMID | ACDB1_CB_STAT
GHI | WMS_GHI | ACDB2_CB_STAT
WS | WMS_WS | ACDB3_CB_STAT
WD | WMS_WD | ACDB4_CB_STAT
DHI | WMS_DHI | ACDB5_CB_STAT
DNI | WMS_DNI | AUX_CB_STAT
INS | WMS_INS | INC_MFM_STAT
PR | WMS_PR | OG1_MFM_STAT
CUF | WMS_CUF | OG2_MFM_STAT
CO2 | WMS_CO2 | ACDB1_MFM_STAT
RY-PH VOLTAGE | INC_RY_KV | ACDB2_MFM_STAT
YB-PH VOLTAGE | INC_YB_KV | ACDB3_MFM_STAT
BR-PH VOLTAGE | INC_BR_KV | ACDB4_MFM_STAT
R-PH VOLTAGE | INC_R_KV | ACDB5_MFM_STAT
Y-PH VOLTAGE | INC_Y_KV | AUX_MFM_STAT
B-PH VOLTAGE | INC_B_KV | WMS_COM_STAT
R-PH AMP | INC_R_AMP | INV1_COM_STAT
Y-PH AMP | INC_Y_AMP | INV2_COM_STAT
B-PH AMP | INC_B_AMP | INV3_COM_STAT
PF | INC_PF | INV4_COM_STAT
FREQUENCY | INC_HZ | INV5_COM_STAT
AVG VOLTAGE LL | INC_LL_AVG_KV | INV6_COM_STAT
AVG VOLTAGE LN | INC_LN_AVG_KV | INV7_COM_STAT
TOTAL CURRENT | INC_TOT_AMP | INV8_COM_STAT
R-PH KW | INC_R_KW | INV9_COM_STAT
Y-PH KW | INC_Y_KW | INV10_COM_STAT
B-PH KW | INC_B_KW | MOG TRIP
ACTIVE POWER | INC_TOT_KW | PRV TRIP
R-PH KVAR | INC_R_KVAR | BUCHHOLZ TRIP
Y-PH KVAR | INC_Y_kVAR | BUCHHOLZ ALARM
B-PH KVAR | INC_B_kVAR | OTI TRIP
REACTIVE POWER | INC_TOT_kVAR | OTI ALARM
R-PH KVA | INC_R_kVA | WTI TRIP
Y-PH KVA | INC_Y_kVA | WTI ALARM
B-PH KVA | INC_B_kVA | INTERNAL RELAY FAIL
APPARENT POWER | INC_TOT_kVA | UV OV RELAY TRIP
KWH IMPORT | INC_KWHI | OC EF RELAY TRIP
KWH EXPORT | INC_KWHE | MASTER TRP RELAY
KVAH IMPORT | INC_kVAHI | ANC COM
KVAH EXPORT | INC_kVAHE
KVARH IMPORT | INC_kVARHI
KVARH EXPORT | INC_kVARHE
RY-PH VOLTAGE | OG1_RY_KV
YB-PH VOLTAGE | OG1_YB_KV
BR-PH VOLTAGE | OG1_BR_KV
R-PH VOLTAGE | OG1_R_KV
Y-PH VOLTAGE | OG1_Y_KV
B-PH VOLTAGE | OG1_B_KV
R-PH AMP | OG1_R_AMP
Y-PH AMP | OG1_Y_AMP
B-PH AMP | OG1_B_AMP
PF | OG1_PF
FREQUENCY | OG1_HZ
AVG VOLTAGE LL | OG1_LL_AVG_KV
AVG VOLTAGE LN | OG1_LN_AVG_KV
TOTAL CURRENT | OG1_TOT_AMP
R-PH KW | OG1_R_KW
Y-PH KW | OG1_Y_KW
B-PH KW | OG1_B_KW
ACTIVE POWER | OG1_TOT_KW
R-PH KVAR | OG1_R_kVAR
Y-PH KVAR | OG1_Y_kVAR
B-PH KVAR | OG1_B_kVAR
REACTIVE POWER | OG1_TOT_kVAR
R-PH KVA | OG1_R_kVA
Y-PH KVA | OG1_Y_kVA
B-PH KVA | OG1_B_kVA
APPARENT POWER | OG1_TOT_kVA
KWH IMPORT | OG1_KWHI
KWH EXPORT | OG1_KWHE
KVAH IMPORT | OG1_kVAHI
KVAH EXPORT | OG1_kVAHE
KVARH IMPORT | OG1_kVARHI
KVARH EXPORT | OG1_kVARHE
RY-PH VOLTAGE | OG2_RY_KV
YB-PH VOLTAGE | OG2_YB_KV
BR-PH VOLTAGE | OG2_BR_KV
R-PH VOLTAGE | OG2_R_KV
Y-PH VOLTAGE | OG2_Y_KV
B-PH VOLTAGE | OG2_B_KV
R-PH AMP | OG2_R_AMP
Y-PH AMP | OG2_Y_AMP
B-PH AMP | OG2_B_AMP
PF | OG2_PF
FREQUENCY | OG2_HZ
AVG VOLTAGE LL | OG2_LL_AVG_KV
AVG VOLTAGE LN | OG2_LN_AVG_KV
TOTAL CURRENT | OG2_TOT_AMP
R-PH KW | OG2_R_KW
Y-PH KW | OG2_Y_KW
B-PH KW | OG2_B_KW
ACTIVE POWER | OG2_TOT_KW
R-PH KVAR | OG2_R_kVAR
Y-PH KVAR | OG2_Y_kVAR
B-PH KVAR | OG2_B_kVAR
REACTIVE POWER | OG2_TOT_kVAR
R-PH KVA | OG2_R_kVA
Y-PH KVA | OG2_Y_kVA
B-PH KVA | OG2_B_kVA
APPARENT POWER | OG2_TOT_kVA
KWH IMPORT | OG2_KWHI
KWH EXPORT | OG2_KWHE
KVAH IMPORT | OG2_kVAHI
KVAH EXPORT | OG2_kVAHE
KVARH IMPORT | OG2_kVARHI
KVARH EXPORT | OG2_kVARHE
RY-PH VOLTAGE | ACDB1_RY_V
YB-PH VOLTAGE | ACDB1_YB_V
BR-PH VOLTAGE | ACDB1_BR_V
R-PH VOLTAGE | ACDB1_R_V
Y-PH VOLTAGE | ACDB1_Y_V
B-PH VOLTAGE | ACDB1_B_V
R-PH AMP | ACDB1_R_AMP
Y-PH AMP | ACDB1_Y_AMP
B-PH AMP | ACDB1_B_AMP
PF | ACDB1_PF
FREQUENCY | ACDB1_HZ
AVG VOLTAGE LL | ACDB1_LL_AVG_V
AVG VOLTAGE LN | ACDB1_LN_AVG_V
TOTAL CURRENT | ACDB1_TOT_AMP
R-PH KW | ACDB1_R_KW
Y-PH KW | ACDB1_Y_KW
B-PH KW | ACDB1_B_KW
ACTIVE POWER | ACDB1_TOT_KW
R-PH KVAR | ACDB1_R_kVAR
Y-PH KVAR | ACDB1_Y_kVAR
B-PH KVAR | ACDB1_B_kVAR
REACTIVE POWER | ACDB1_TOT_kVAR
R-PH KVA | ACDB1_R_kVA
Y-PH KVA | ACDB1_Y_kVA
B-PH KVA | ACDB1_B_kVA
APPARENT POWER | ACDB1_TOT_kVA
KWH IMPORT | ACDB1_KWHI
KWH EXPORT | ACDB1_KWHE
KVAH IMPORT | ACDB1_kVAHI
KVAH EXPORT | ACDB1_kVAHE
KVARH IMPORT | ACDB1_kVARHI
KVARH EXPORT | ACDB1_kVARHE
RY-PH VOLTAGE | ACDB2_RY_V
YB-PH VOLTAGE | ACDB2_YB_V
BR-PH VOLTAGE | ACDB2_BR_V
R-PH VOLTAGE | ACDB2_R_V
Y-PH VOLTAGE | ACDB2_Y_V
B-PH VOLTAGE | ACDB2_B_V
R-PH AMP | ACDB2_R_AMP
Y-PH AMP | ACDB2_Y_AMP
B-PH AMP | ACDB2_B_AMP
PF | ACDB2_PF
FREQUENCY | ACDB2_HZ
AVG VOLTAGE LL | ACDB2_LL_AVG_V
AVG VOLTAGE LN | ACDB2_LN_AVG_V
TOTAL CURRENT | ACDB2_TOT_AMP
R-PH KW | ACDB2_R_KW
Y-PH KW | ACDB2_Y_KW
B-PH KW | ACDB2_B_KW
ACTIVE POWER | ACDB2_TOT_KW
R-PH KVAR | ACDB2_R_KVAR
Y-PH KVAR | ACDB2_Y_KVAR
B-PH KVAR | ACDB2_B_KVAR
REACTIVE POWER | ACDB2_TOT_KVAR
R-PH KVA | ACDB2_R_KVA
Y-PH KVA | ACDB2_Y_KVA
B-PH KVA | ACDB2_B_KVA
APPARENT POWER | ACDB2_TOT_KVA
KWH IMPORT | ACDB2_KWHI
KWH EXPORT | ACDB2_KWHE
KVAH IMPORT | ACDB2_KVAHI
KVAH EXPORT | ACDB2_KVAHE
KVARH IMPORT | ACDB2_KVARHI
KVARH EXPORT | ACDB2_KVARHE
RY-PH VOLTAGE | ACDB3_RY_V
YB-PH VOLTAGE | ACDB3_YB_V
BR-PH VOLTAGE | ACDB3_BR_V
R-PH VOLTAGE | ACDB3_R_V
Y-PH VOLTAGE | ACDB3_Y_V
B-PH VOLTAGE | ACDB3_B_V
R-PH AMP | ACDB3_R_AMP
Y-PH AMP | ACDB3_Y_AMP
B-PH AMP | ACDB3_B_AMP
PF | ACDB3_PF
FREQUENCY | ACDB3_HZ
AVG VOLTAGE LL | ACDB3_LL_AVG_V
AVG VOLTAGE LN | ACDB3_LN_AVG_V
TOTAL CURRENT | ACDB3_TOT_AMP
R-PH KW | ACDB3_R_KW
Y-PH KW | ACDB3_Y_KW
B-PH KW | ACDB3_B_KW
ACTIVE POWER | ACDB3_TOT_KW
R-PH KVAR | ACDB3_R_KVAR
Y-PH KVAR | ACDB3_Y_KVAR
B-PH KVAR | ACDB3_B_KVAR
REACTIVE POWER | ACDB3_TOT_KVAR
R-PH KVA | ACDB3_R_KVA
Y-PH KVA | ACDB3_Y_KVA
B-PH KVA | ACDB3_B_KVA
APPARENT POWER | ACDB3_TOT_KVA
KWH IMPORT | ACDB3_KWHI
KWH EXPORT | ACDB3_KWHE
KVAH IMPORT | ACDB3_KVAHI
KVAH EXPORT | ACDB3_KVAHE
KVARH IMPORT | ACDB3_KVARHI
KVARH EXPORT | ACDB3_KVARHE
RY-PH VOLTAGE | ACDB4_RY_V
YB-PH VOLTAGE | ACDB4_YB_V
BR-PH VOLTAGE | ACDB4_BR_V
R-PH VOLTAGE | ACDB4_R_V
Y-PH VOLTAGE | ACDB4_Y_V
B-PH VOLTAGE | ACDB4_B_V
R-PH AMP | ACDB4_R_AMP
Y-PH AMP | ACDB4_Y_AMP
B-PH AMP | ACDB4_B_AMP
PF | ACDB4_PF
FREQUENCY | ACDB4_HZ
AVG VOLTAGE LL | ACDB4_LL_AVG_V
AVG VOLTAGE LN | ACDB4_LN_AVG_V
TOTAL CURRENT | ACDB4_TOT_AMP
R-PH KW | ACDB4_R_KW
Y-PH KW | ACDB4_Y_KW
B-PH KW | ACDB4_B_KW
ACTIVE POWER | ACDB4_TOT_KW
R-PH KVAR | ACDB4_R_KVAR
Y-PH KVAR | ACDB4_Y_KVAR
B-PH KVAR | ACDB4_B_KVAR
REACTIVE POWER | ACDB4_TOT_KVAR
R-PH KVA | ACDB4_R_KVA
Y-PH KVA | ACDB4_Y_KVA
B-PH KVA | ACDB4_B_KVA
APPARENT POWER | ACDB4_TOT_KVA
KWH IMPORT | ACDB4_KWHI
KWH EXPORT | ACDB4_KWHE
KVAH IMPORT | ACDB4_KVAHI
KVAH EXPORT | ACDB4_KVAHE
KVARH IMPORT | ACDB4_KVARHI
KVARH EXPORT | ACDB4_KVARHE
RY-PH VOLTAGE | ACDB5_RY_V
YB-PH VOLTAGE | ACDB5_YB_V
BR-PH VOLTAGE | ACDB5_BR_V
R-PH VOLTAGE | ACDB5_R_V
Y-PH VOLTAGE | ACDB5_Y_V
B-PH VOLTAGE | ACDB5_B_V
R-PH AMP | ACDB5_R_AMP
Y-PH AMP | ACDB5_Y_AMP
B-PH AMP | ACDB5_B_AMP
PF | ACDB5_PF
FREQUENCY | ACDB5_HZ
AVG VOLTAGE LL | ACDB5_LL_AVG_V
AVG VOLTAGE LN | ACDB5_LN_AVG_V
TOTAL CURRENT | ACDB5_TOT_AMP
R-PH KW | ACDB5_R_KW
Y-PH KW | ACDB5_Y_KW
B-PH KW | ACDB5_B_KW
ACTIVE POWER | ACDB5_TOT_KW
R-PH KVAR | ACDB5_R_KVAR
Y-PH KVAR | ACDB5_Y_KVAR
B-PH KVAR | ACDB5_B_KVAR
REACTIVE POWER | ACDB5_TOT_KVAR
R-PH KVA | ACDB5_R_KVA
Y-PH KVA | ACDB5_Y_KVA
B-PH KVA | ACDB5_B_KVA
APPARENT POWER | ACDB5_TOT_KVA
KWH IMPORT | ACDB5_KWHI
KWH EXPORT | ACDB5_KWHE
KVAH IMPORT | ACDB5_KVAHI
KVAH EXPORT | ACDB5_KVAHE
KVARH IMPORT | ACDB5_KVARHI
KVARH EXPORT | ACDB5_KVARHE
RY-PH VOLTAGE | AUX_RY_V
YB-PH VOLTAGE | AUX_YB_V
BR-PH VOLTAGE | AUX_BR_V
R-PH VOLTAGE | AUX_R_V
Y-PH VOLTAGE | AUX_Y_V
B-PH VOLTAGE | AUX_B_V
R-PH AMP | AUX_R_AMP
Y-PH AMP | AUX_Y_AMP
B-PH AMP | AUX_B_AMP
PF | AUX_PF
FREQUENCY | AUX_HZ
AVG VOLTAGE LL | AUX_LL_AVG_V
AVG VOLTAGE LN | AUX_LN_AVG_V
TOTAL CURRENT | AUX_TOT_AMP
R-PH KW | AUX_R_KW
Y-PH KW | AUX_Y_KW
B-PH KW | AUX_B_KW
ACTIVE POWER | AUX_TOT_KW
R-PH KVAR | AUX_R_KVAR
Y-PH KVAR | AUX_Y_KVAR
B-PH KVAR | AUX_B_KVAR
REACTIVE POWER | AUX_TOT_KVAR
R-PH KVA | AUX_R_KVA
Y-PH KVA | AUX_Y_KVA
B-PH KVA | AUX_B_KVA
APPARENT POWER | AUX_TOT_KVA
KWH IMPORT | AUX_KWHI
KWH EXPORT | AUX_KWHE
KVAH IMPORT | AUX_KVAHI
KVAH EXPORT | AUX_KVAHE
KVARH IMPORT | AUX_KVARHI
KVARH EXPORT | AUX_KVARHE
NOMINAL KW | INV1_N_KW
DPY | INV1_DPY
TPY | INV1_TPY
TOT_RUN_TIME | INV1_TOT_RUN_TIME
INTERNAL TEMP | INV1_TEMP
KVA | INV1_kVA
TOT_DC_PWR | INV1_DC_PWR
RYPH_VOLT | INV1_RY_VOLT
YBPH_VOLT | INV1_YB_VOLT
BRPH_VOLT | INV1_BR_VOLT
RPH_AMP | INV1_R_AMP
YPH_AMP | INV1_Y_AMP
BPH_AMP | INV1_B_AMP
KW | INV1_KW
KVAR | INV1_kVAR
PF | INV1_PF
HZ | INV1_HZ
MPY | INV1_N_kVAR
DAILY_RUN_TIME | INV1_DAY_RUN_TIME
MPPT1_VOLT | INV1_MPPT1_V
MPPT1_AMP | INV1_MPPT1_A
MPPT2_VOLT | INV1_MPPT2_V
MPPT2_AMP | INV1_MPPT2_A
MPPT3_VOLT | INV1_MPPT3_V
MPPT3_AMP | INV1_MPPT3_A
MPPT4_VOLT | INV1_MPPT4_V
MPPT4_AMP | INV1_MPPT4_A
MPPT5_VOLT | INV1_MPPT5_V
MPPT5_AMP | INV1_MPPT5_A
MPPT6_VOLT | INV1_MPPT6_V
MPPT6_AMP | INV1_MPPT6_A
MPPT7_VOLT | INV1_MPPT7_V
MPPT7_AMP | INV1_MPPT7_A
MPPT8_VOLT | INV1_MPPT8_V
MPPT8_AMP | INV1_MPPT8_A
MPPT9_VOLT | INV1_MPPT9_V
MPPT9_AMP | INV1_MPPT9_A
MPPT10_VOLT | INV1_MPPT10_V
MPPT10_AMP | INV1_MPPT10_A
MPPT11_VOLT | INV1_MPPT11_V
MPPT11_AMP | INV1_MPPT11_A
MPPT12_VOLT | INV1_MPPT12_V
MPPT12_AMP | INV1_MPPT12_A
MPPT13_VOLT | INV1_MPPT13_V
MPPT13_AMP | INV1_MPPT13_A
MPPT14_VOLT | INV1_MPPT14_V
MPPT14_AMP | INV1_MPPT14_A
MPPT15_VOLT | INV1_MPPT15_V
MPPT15_AMP | INV1_MPPT15_A
MPPT16_VOLT | INV1_MPPT16_V
MPPT16_AMP | INV1_MPPT16_A
STRNG1_AMP | INV1_STRNG1_A
STRNG2_AMP | INV1_STRNG2_A
STRNG3_AMP | INV1_STRNG3_A
STRNG4_AMP | INV1_STRNG4_A
STRNG5_AMP | INV1_STRNG5_A
STRNG6_AMP | INV1_STRNG6_A
STRNG7_AMP | INV1_STRNG7_A
STRNG8_AMP | INV1_STRNG8_A
STRNG9_AMP | INV1_STRNG9_A
STRNG10_AMP | INV1_STRNG10_A
STRNG11_AMP | INV1_STRNG11_A
STRNG12_AMP | INV1_STRNG12_A
STRNG13_AMP | INV1_STRNG13_A
STRNG14_AMP | INV1_STRNG14_A
STRNG15_AMP | INV1_STRNG15_A
STRNG16_AMP | INV1_STRNG16_A
STRNG17_AMP | INV1_STRNG17_A
STRNG18_AMP | INV1_STRNG18_A
STRNG19_AMP | INV1_STRNG19_A
STRNG20_AMP | INV1_STRNG20_A
STRNG21_AMP | INV1_STRNG21_A
STRNG22_AMP | INV1_STRNG22_A
STRNG23_AMP | INV1_STRNG23_A
STRNG24_AMP | INV1_STRNG24_A
STRNG25_AMP | INV1_STRNG25_A
STRNG26_AMP | INV1_STRNG26_A
STRNG27_AMP | INV1_STRNG27_A
STRNG28_AMP | INV1_STRNG28_A
STRNG29_AMP | INV1_STRNG29_A
STRNG30_AMP | INV1_STRNG30_A
STRNG31_AMP | INV1_STRNG31_A
STRNG32_AMP | INV1_STRNG32_A
WORK_STATE | INV1_WORK_STATE
FAULT_CODE | INV1_FAULT_CODE
NOMINAL KW | INV2_N_KW
DPY | INV2_DPY
TPY | INV2_TPY
TOT_RUN_TIME | INV2_TOT_RUN_TIME
INTERNAL TEMP | INV2_TEMP
KVA | INV2_KVA
TOT_DC_PWR | INV2_DC_PWR
RYPH_VOLT | INV2_RY_VOLT
YBPH_VOLT | INV2_YB_VOLT
BRPH_VOLT | INV2_BR_VOLT
RPH_AMP | INV2_R_AMP
YPH_AMP | INV2_Y_AMP
BPH_AMP | INV2_B_AMP
KW | INV2_KW
KVAR | INV2_KVAR
PF | INV2_PF
HZ | INV2_HZ
MPY | INV2_MPY
DAILY_RUN_TIME | INV2_DAY_RUN_TIME
MPPT1_VOLT | INV2_MPPT1_V
MPPT1_AMP | INV2_MPPT1_A
MPPT2_VOLT | INV2_MPPT2_V
MPPT2_AMP | INV2_MPPT2_A
MPPT3_VOLT | INV2_MPPT3_V
MPPT3_AMP | INV2_MPPT3_A
MPPT4_VOLT | INV2_MPPT4_V
MPPT4_AMP | INV2_MPPT4_A
MPPT5_VOLT | INV2_MPPT5_V
MPPT5_AMP | INV2_MPPT5_A
MPPT6_VOLT | INV2_MPPT6_V
MPPT6_AMP | INV2_MPPT6_A
MPPT7_VOLT | INV2_MPPT7_V
MPPT7_AMP | INV2_MPPT7_A
MPPT8_VOLT | INV2_MPPT8_V
MPPT8_AMP | INV2_MPPT8_A
MPPT9_VOLT | INV2_MPPT9_V
MPPT9_AMP | INV2_MPPT9_A
MPPT10_VOLT | INV2_MPPT10_V
MPPT10_AMP | INV2_MPPT10_A
MPPT11_VOLT | INV2_MPPT11_V
MPPT11_AMP | INV2_MPPT11_A
MPPT12_VOLT | INV2_MPPT12_V
MPPT12_AMP | INV2_MPPT12_A
MPPT13_VOLT | INV2_MPPT13_V
MPPT13_AMP | INV2_MPPT13_A
MPPT14_VOLT | INV2_MPPT14_V
MPPT14_AMP | INV2_MPPT14_A
MPPT15_VOLT | INV2_MPPT15_V
MPPT15_AMP | INV2_MPPT15_A
MPPT16_VOLT | INV2_MPPT16_V
MPPT16_AMP | INV2_MPPT16_A
STRNG1_AMP | INV2_STRNG1_A
STRNG2_AMP | INV2_STRNG2_A
STRNG3_AMP | INV2_STRNG3_A
STRNG4_AMP | INV2_STRNG4_A
STRNG5_AMP | INV2_STRNG5_A
STRNG6_AMP | INV2_STRNG6_A
STRNG7_AMP | INV2_STRNG7_A
STRNG8_AMP | INV2_STRNG8_A
STRNG9_AMP | INV2_STRNG9_A
STRNG10_AMP | INV2_STRNG10_A
STRNG11_AMP | INV2_STRNG11_A
STRNG12_AMP | INV2_STRNG12_A
STRNG13_AMP | INV2_STRNG13_A
STRNG14_AMP | INV2_STRNG14_A
STRNG15_AMP | INV2_STRNG15_A
STRNG16_AMP | INV2_STRNG16_A
STRNG17_AMP | INV2_STRNG17_A
STRNG18_AMP | INV2_STRNG18_A
STRNG19_AMP | INV2_STRNG19_A
STRNG20_AMP | INV2_STRNG20_A
STRNG21_AMP | INV2_STRNG21_A
STRNG22_AMP | INV2_STRNG22_A
STRNG23_AMP | INV2_STRNG23_A
STRNG24_AMP | INV2_STRNG24_A
STRNG25_AMP | INV2_STRNG25_A
STRNG26_AMP | INV2_STRNG26_A
STRNG27_AMP | INV2_STRNG27_A
STRNG28_AMP | INV2_STRNG28_A
STRNG29_AMP | INV2_STRNG29_A
STRNG30_AMP | INV2_STRNG30_A
STRNG31_AMP | INV2_STRNG31_A
STRNG32_AMP | INV2_STRNG32_A
WORK_STATE | INV2_WORK_STATE
NOMINAL KW | INV3_N_KW
DPY | INV3_DPY
TPY | INV3_TPY
TOT_RUN_TIME | INV3_TOT_RUN_TIME
INTERNAL TEMP | INV3_TEMP
KVA | INV3_KVA
TOT_DC_PWR | INV3_DC_PWR
RYPH_VOLT | INV3_RY_VOLT
YBPH_VOLT | INV3_YB_VOLT
BRPH_VOLT | INV3_BR_VOLT
RPH_AMP | INV3_R_AMP
YPH_AMP | INV3_Y_AMP
BPH_AMP | INV3_B_AMP
KW | INV3_KW
KVAR | INV3_KVAR
PF | INV3_PF
HZ | INV3_HZ
MPY | INV3_MPY
DAILY_RUN_TIME | INV3_DAY_RUN_TIME
MPPT1_VOLT | INV3_MPPT1_V
MPPT1_AMP | INV3_MPPT1_A
MPPT2_VOLT | INV3_MPPT2_V
MPPT2_AMP | INV3_MPPT2_A
MPPT3_VOLT | INV3_MPPT3_V
MPPT3_AMP | INV3_MPPT3_A
MPPT4_VOLT | INV3_MPPT4_V
MPPT4_AMP | INV3_MPPT4_A
MPPT5_VOLT | INV3_MPPT5_V
MPPT5_AMP | INV3_MPPT5_A
MPPT6_VOLT | INV3_MPPT6_V
MPPT6_AMP | INV3_MPPT6_A
MPPT7_VOLT | INV3_MPPT7_V
MPPT7_AMP | INV3_MPPT7_A
MPPT8_VOLT | INV3_MPPT8_V
MPPT8_AMP | INV3_MPPT8_A
MPPT9_VOLT | INV3_MPPT9_V
MPPT9_AMP | INV3_MPPT9_A
MPPT10_VOLT | INV3_MPPT10_V
MPPT10_AMP | INV3_MPPT10_A
MPPT11_VOLT | INV3_MPPT11_V
MPPT11_AMP | INV3_MPPT11_A
MPPT12_VOLT | INV3_MPPT12_V
MPPT12_AMP | INV3_MPPT12_A
MPPT13_VOLT | INV3_MPPT13_V
MPPT13_AMP | INV3_MPPT13_A
MPPT14_VOLT | INV3_MPPT14_V
MPPT14_AMP | INV3_MPPT14_A
MPPT15_VOLT | INV3_MPPT15_V
MPPT15_AMP | INV3_MPPT15_A
MPPT16_VOLT | INV3_MPPT16_V
MPPT16_AMP | INV3_MPPT16_A
STRNG1_AMP | INV3_STRNG1_A
STRNG2_AMP | INV3_STRNG2_A
STRNG3_AMP | INV3_STRNG3_A
STRNG4_AMP | INV3_STRNG4_A
STRNG5_AMP | INV3_STRNG5_A
STRNG6_AMP | INV3_STRNG6_A
STRNG7_AMP | INV3_STRNG7_A
STRNG8_AMP | INV3_STRNG8_A
STRNG9_AMP | INV3_STRNG9_A
STRNG10_AMP | INV3_STRNG10_A
STRNG11_AMP | INV3_STRNG11_A
STRNG12_AMP | INV3_STRNG12_A
STRNG13_AMP | INV3_STRNG13_A
STRNG14_AMP | INV3_STRNG14_A
STRNG15_AMP | INV3_STRNG15_A
STRNG16_AMP | INV3_STRNG16_A
STRNG17_AMP | INV3_STRNG17_A
STRNG18_AMP | INV3_STRNG18_A
STRNG19_AMP | INV3_STRNG19_A
STRNG20_AMP | INV3_STRNG20_A
STRNG21_AMP | INV3_STRNG21_A
STRNG22_AMP | INV3_STRNG22_A
STRNG23_AMP | INV3_STRNG23_A
STRNG24_AMP | INV3_STRNG24_A
STRNG25_AMP | INV3_STRNG25_A
STRNG26_AMP | INV3_STRNG26_A
STRNG27_AMP | INV3_STRNG27_A
STRNG28_AMP | INV3_STRNG28_A
STRNG29_AMP | INV3_STRNG29_A
STRNG30_AMP | INV3_STRNG30_A
STRNG31_AMP | INV3_STRNG31_A
STRNG32_AMP | INV3_STRNG32_A
WORK_STATE | INV3_WORK_STATE
FAULT_CODE | INV3_FAULT_CODE
KVAR_SETTINGS_PERCENTAGE | INV3_KVAR_SETTINGS_PERCENTAGE
NOMINAL KW | INV4_N_KW
DPY | INV4_DPY
TPY | INV4_TPY
TOT_RUN_TIME | INV4_TOT_RUN_TIME
INTERNAL TEMP | INV4_TEMP
KVA | INV4_KVA
TOT_DC_PWR | INV4_DC_PWR
RYPH_VOLT | INV4_RY_VOLT
YBPH_VOLT | INV4_YB_VOLT
BRPH_VOLT | INV4_BR_VOLT
RPH_AMP | INV4_R_AMP
YPH_AMP | INV4_Y_AMP
BPH_AMP | INV4_B_AMP
KW | INV4_KW
KVAR | INV4_KVAR
PF | INV4_PF
HZ | INV4_HZ
MPY | INV4_MPY
DAILY_RUN_TIME | INV4_DAY_RUN_TIME
MPPT1_VOLT | INV4_MPPT1_V
MPPT1_AMP | INV4_MPPT1_A
MPPT2_VOLT | INV4_MPPT2_V
MPPT2_AMP | INV4_MPPT2_A
MPPT3_VOLT | INV4_MPPT3_V
MPPT3_AMP | INV4_MPPT3_A
MPPT4_VOLT | INV4_MPPT4_V
MPPT4_AMP | INV4_MPPT4_A
MPPT5_VOLT | INV4_MPPT5_V
MPPT5_AMP | INV4_MPPT5_A
MPPT6_VOLT | INV4_MPPT6_V
MPPT6_AMP | INV4_MPPT6_A
MPPT7_VOLT | INV4_MPPT7_V
MPPT7_AMP | INV4_MPPT7_A
MPPT8_VOLT | INV4_MPPT8_V
MPPT8_AMP | INV4_MPPT8_A
MPPT9_VOLT | INV4_MPPT9_V
MPPT9_AMP | INV4_MPPT9_A
MPPT10_VOLT | INV4_MPPT10_V
MPPT10_AMP | INV4_MPPT10_A
MPPT11_VOLT | INV4_MPPT11_V
MPPT11_AMP | INV4_MPPT11_A
MPPT12_VOLT | INV4_MPPT12_V
MPPT12_AMP | INV4_MPPT12_A
MPPT13_VOLT | INV4_MPPT13_V
MPPT13_AMP | INV4_MPPT13_A
MPPT14_VOLT | INV4_MPPT14_V
MPPT14_AMP | INV4_MPPT14_A
MPPT15_VOLT | INV4_MPPT15_V
MPPT15_AMP | INV4_MPPT15_A
MPPT16_VOLT | INV4_MPPT16_V
MPPT16_AMP | INV4_MPPT16_A
STRNG1_AMP | INV4_STRNG1_A
STRNG2_AMP | INV4_STRNG2_A
STRNG3_AMP | INV4_STRNG3_A
STRNG4_AMP | INV4_STRNG4_A
STRNG5_AMP | INV4_STRNG5_A
STRNG6_AMP | INV4_STRNG6_A
STRNG7_AMP | INV4_STRNG7_A
STRNG8_AMP | INV4_STRNG8_A
STRNG9_AMP | INV4_STRNG9_A
STRNG10_AMP | INV4_STRNG10_A
STRNG11_AMP | INV4_STRNG11_A
STRNG12_AMP | INV4_STRNG12_A
STRNG13_AMP | INV4_STRNG13_A
STRNG14_AMP | INV4_STRNG14_A
STRNG15_AMP | INV4_STRNG15_A
STRNG16_AMP | INV4_STRNG16_A
STRNG17_AMP | INV4_STRNG17_A
STRNG18_AMP | INV4_STRNG18_A
STRNG19_AMP | INV4_STRNG19_A
STRNG20_AMP | INV4_STRNG20_A
STRNG21_AMP | INV4_STRNG21_A
STRNG22_AMP | INV4_STRNG22_A
STRNG23_AMP | INV4_STRNG23_A
STRNG24_AMP | INV4_STRNG24_A
STRNG25_AMP | INV4_STRNG25_A
STRNG26_AMP | INV4_STRNG26_A
STRNG27_AMP | INV4_STRNG27_A
STRNG28_AMP | INV4_STRNG28_A
STRNG29_AMP | INV4_STRNG29_A
STRNG30_AMP | INV4_STRNG30_A
STRNG31_AMP | INV4_STRNG31_A
STRNG32_AMP | INV4_STRNG32_A
WORK_STATE | INV4_WORK_STATE
FAULT_CODE | INV4_FAULT_CODE
NOMINAL KW | INV5_N_KW
DPY | INV5_DPY
TPY | INV5_TPY
TOT_RUN_TIME | INV5_TOT_RUN_TIME
INTERNAL TEMP | INV5_TEMP
KVA | INV5_KVA
TOT_DC_PWR | INV5_DC_PWR
RYPH_VOLT | INV5_RY_VOLT
YBPH_VOLT | INV5_YB_VOLT
BRPH_VOLT | INV5_BR_VOLT
RPH_AMP | INV5_R_AMP
YPH_AMP | INV5_Y_AMP
BPH_AMP | INV5_B_AMP
KW | INV5_KW
KVAR | INV5_KVAR
PF | INV5_PF
HZ | INV5_HZ
MPY | INV5_MPY
DAILY_RUN_TIME | INV5_DAY_RUN_TIME
MPPT1_VOLT | INV5_MPPT1_V
MPPT1_AMP | INV5_MPPT1_A
MPPT2_VOLT | INV5_MPPT2_V
MPPT2_AMP | INV5_MPPT2_A
MPPT3_VOLT | INV5_MPPT3_V
MPPT3_AMP | INV5_MPPT3_A
MPPT4_VOLT | INV5_MPPT4_V
MPPT4_AMP | INV5_MPPT4_A
MPPT5_VOLT | INV5_MPPT5_V
MPPT5_AMP | INV5_MPPT5_A
MPPT6_VOLT | INV5_MPPT6_V
MPPT6_AMP | INV5_MPPT6_A
MPPT7_VOLT | INV5_MPPT7_V
MPPT7_AMP | INV5_MPPT7_A
MPPT8_VOLT | INV5_MPPT8_V
MPPT8_AMP | INV5_MPPT8_A
MPPT9_VOLT | INV5_MPPT9_V
MPPT9_AMP | INV5_MPPT9_A
MPPT10_VOLT | INV5_MPPT10_V
MPPT10_AMP | INV5_MPPT10_A
MPPT11_VOLT | INV5_MPPT11_V
MPPT11_AMP | INV5_MPPT11_A
MPPT12_VOLT | INV5_MPPT12_V
MPPT12_AMP | INV5_MPPT12_A
MPPT13_VOLT | INV5_MPPT13_V
MPPT13_AMP | INV5_MPPT13_A
MPPT14_VOLT | INV5_MPPT14_V
MPPT14_AMP | INV5_MPPT14_A
MPPT15_VOLT | INV5_MPPT15_V
MPPT15_AMP | INV5_MPPT15_A
MPPT16_VOLT | INV5_MPPT16_V
MPPT16_AMP | INV5_MPPT16_A
STRNG1_AMP | INV5_STRNG1_A
STRNG2_AMP | INV5_STRNG2_A
STRNG3_AMP | INV5_STRNG3_A
STRNG4_AMP | INV5_STRNG4_A
STRNG5_AMP | INV5_STRNG5_A
STRNG6_AMP | INV5_STRNG6_A
STRNG7_AMP | INV5_STRNG7_A
STRNG8_AMP | INV5_STRNG8_A
STRNG9_AMP | INV5_STRNG9_A
STRNG10_AMP | INV5_STRNG10_A
STRNG11_AMP | INV5_STRNG11_A
STRNG12_AMP | INV5_STRNG12_A
STRNG13_AMP | INV5_STRNG13_A
STRNG14_AMP | INV5_STRNG14_A
STRNG15_AMP | INV5_STRNG15_A
STRNG16_AMP | INV5_STRNG16_A
STRNG17_AMP | INV5_STRNG17_A
STRNG18_AMP | INV5_STRNG18_A
STRNG19_AMP | INV5_STRNG19_A
STRNG20_AMP | INV5_STRNG20_A
STRNG21_AMP | INV5_STRNG21_A
STRNG22_AMP | INV5_STRNG22_A
STRNG23_AMP | INV5_STRNG23_A
STRNG24_AMP | INV5_STRNG24_A
STRNG25_AMP | INV5_STRNG25_A
STRNG26_AMP | INV5_STRNG26_A
STRNG27_AMP | INV5_STRNG27_A
STRNG28_AMP | INV5_STRNG28_A
STRNG29_AMP | INV5_STRNG29_A
STRNG30_AMP | INV5_STRNG30_A
STRNG31_AMP | INV5_STRNG31_A
STRNG32_AMP | INV5_STRNG32_A
WORK_STATE | INV5_WORK_STATE
FAULT_CODE | INV5_FAULT_CODE
NOMINAL KW | INV6_N_KW
DPY | INV6_DPY
TPY | INV6_TPY
TOT_RUN_TIME | INV6_TOT_RUN_TIME
INTERNAL TEMP | INV6_TEMP
KVA | INV6_KVA
TOT_DC_PWR | INV6_DC_PWR
RYPH_VOLT | INV6_RY_VOLT
YBPH_VOLT | INV6_YB_VOLT
BRPH_VOLT | INV6_BR_VOLT
RPH_AMP | INV6_R_AMP
YPH_AMP | INV6_Y_AMP
BPH_AMP | INV6_B_AMP
KW | INV6_KW
KVAR | INV6_KVAR
PF | INV6_PF
HZ | INV6_HZ
MPY | INV6_MPY
DAILY_RUN_TIME | INV6_DAY_RUN_TIME
MPPT1_VOLT | INV6_MPPT1_V
MPPT1_AMP | INV6_MPPT1_A
MPPT2_VOLT | INV6_MPPT2_V
MPPT2_AMP | INV6_MPPT2_A
MPPT3_VOLT | INV6_MPPT3_V
MPPT3_AMP | INV6_MPPT3_A
MPPT4_VOLT | INV6_MPPT4_V
MPPT4_AMP | INV6_MPPT4_A
MPPT5_VOLT | INV6_MPPT5_V
MPPT5_AMP | INV6_MPPT5_A
MPPT6_VOLT | INV6_MPPT6_V
MPPT6_AMP | INV6_MPPT6_A
MPPT7_VOLT | INV6_MPPT7_V
MPPT7_AMP | INV6_MPPT7_A
MPPT8_VOLT | INV6_MPPT8_V
MPPT8_AMP | INV6_MPPT8_A
MPPT9_VOLT | INV6_MPPT9_V
MPPT9_AMP | INV6_MPPT9_A
MPPT10_VOLT | INV6_MPPT10_V
MPPT10_AMP | INV6_MPPT10_A
MPPT11_VOLT | INV6_MPPT11_V
MPPT11_AMP | INV6_MPPT11_A
MPPT12_VOLT | INV6_MPPT12_V
MPPT12_AMP | INV6_MPPT12_A
MPPT13_VOLT | INV6_MPPT13_V
MPPT13_AMP | INV6_MPPT13_A
MPPT14_VOLT | INV6_MPPT14_V
MPPT14_AMP | INV6_MPPT14_A
MPPT15_VOLT | INV6_MPPT15_V
MPPT15_AMP | INV6_MPPT15_A
MPPT16_VOLT | INV6_MPPT16_V
MPPT16_AMP | INV6_MPPT16_A
STRNG1_AMP | INV6_STRNG1_A
STRNG2_AMP | INV6_STRNG2_A
STRNG3_AMP | INV6_STRNG3_A
STRNG4_AMP | INV6_STRNG4_A
STRNG5_AMP | INV6_STRNG5_A
STRNG6_AMP | INV6_STRNG6_A
STRNG7_AMP | INV6_STRNG7_A
STRNG8_AMP | INV6_STRNG8_A
STRNG9_AMP | INV6_STRNG9_A
STRNG10_AMP | INV6_STRNG10_A
STRNG11_AMP | INV6_STRNG11_A
STRNG12_AMP | INV6_STRNG12_A
STRNG13_AMP | INV6_STRNG13_A
STRNG14_AMP | INV6_STRNG14_A
STRNG15_AMP | INV6_STRNG15_A
STRNG16_AMP | INV6_STRNG16_A
STRNG17_AMP | INV6_STRNG17_A
STRNG18_AMP | INV6_STRNG18_A
STRNG19_AMP | INV6_STRNG19_A
STRNG20_AMP | INV6_STRNG20_A
STRNG21_AMP | INV6_STRNG21_A
STRNG22_AMP | INV6_STRNG22_A
STRNG23_AMP | INV6_STRNG23_A
STRNG24_AMP | INV6_STRNG24_A
STRNG25_AMP | INV6_STRNG25_A
STRNG26_AMP | INV6_STRNG26_A
STRNG27_AMP | INV6_STRNG27_A
STRNG28_AMP | INV6_STRNG28_A
STRNG29_AMP | INV6_STRNG29_A
STRNG30_AMP | INV6_STRNG30_A
STRNG31_AMP | INV6_STRNG31_A
STRNG32_AMP | INV6_STRNG32_A
WORK_STATE | INV6_WORK_STATE
FAULT_CODE | INV6_FAULT_CODE
NOMINAL KW | INV7_N_KW
DPY | INV7_DPY
TPY | INV7_TPY
TOT_RUN_TIME | INV7_TOT_RUN_TIME
INTERNAL TEMP | INV7_TEMP
KVA | INV7_KVA
TOT_DC_PWR | INV7_DC_PWR
RYPH_VOLT | INV7_RY_VOLT
YBPH_VOLT | INV7_YB_VOLT
BRPH_VOLT | INV7_BR_VOLT
RPH_AMP | INV7_R_AMP
YPH_AMP | INV7_Y_AMP
BPH_AMP | INV7_B_AMP
KW | INV7_KW
KVAR | INV7_KVAR
PF | INV7_PF
HZ | INV7_HZ
MPY | INV7_MPY
DAILY_RUN_TIME | INV7_DAY_RUN_TIME
MPPT1_VOLT | INV7_MPPT1_V
MPPT1_AMP | INV7_MPPT1_A
MPPT2_VOLT | INV7_MPPT2_V
MPPT2_AMP | INV7_MPPT2_A
MPPT3_VOLT | INV7_MPPT3_V
MPPT3_AMP | INV7_MPPT3_A
MPPT4_VOLT | INV7_MPPT4_V
MPPT4_AMP | INV7_MPPT4_A
MPPT5_VOLT | INV7_MPPT5_V
MPPT5_AMP | INV7_MPPT5_A
MPPT6_VOLT | INV7_MPPT6_V
MPPT6_AMP | INV7_MPPT6_A
MPPT7_VOLT | INV7_MPPT7_V
MPPT7_AMP | INV7_MPPT7_A
MPPT8_VOLT | INV7_MPPT8_V
MPPT8_AMP | INV7_MPPT8_A
MPPT9_VOLT | INV7_MPPT9_V
MPPT9_AMP | INV7_MPPT9_A
MPPT10_VOLT | INV7_MPPT10_V
MPPT10_AMP | INV7_MPPT10_A
MPPT11_VOLT | INV7_MPPT11_V
MPPT11_AMP | INV7_MPPT11_A
MPPT12_VOLT | INV7_MPPT12_V
MPPT12_AMP | INV7_MPPT12_A
MPPT13_VOLT | INV7_MPPT13_V
MPPT13_AMP | INV7_MPPT13_A
MPPT14_VOLT | INV7_MPPT14_V
MPPT14_AMP | INV7_MPPT14_A
MPPT15_VOLT | INV7_MPPT15_V
MPPT15_AMP | INV7_MPPT15_A
MPPT16_VOLT | INV7_MPPT16_V
MPPT16_AMP | INV7_MPPT16_A
STRNG1_AMP | INV7_STRNG1_A
STRNG2_AMP | INV7_STRNG2_A
STRNG3_AMP | INV7_STRNG3_A
STRNG4_AMP | INV7_STRNG4_A
STRNG5_AMP | INV7_STRNG5_A
STRNG6_AMP | INV7_STRNG6_A
STRNG7_AMP | INV7_STRNG7_A
STRNG8_AMP | INV7_STRNG8_A
STRNG9_AMP | INV7_STRNG9_A
STRNG10_AMP | INV7_STRNG10_A
STRNG11_AMP | INV7_STRNG11_A
STRNG12_AMP | INV7_STRNG12_A
STRNG13_AMP | INV7_STRNG13_A
STRNG14_AMP | INV7_STRNG14_A
STRNG15_AMP | INV7_STRNG15_A
STRNG16_AMP | INV7_STRNG16_A
STRNG17_AMP | INV7_STRNG17_A
STRNG18_AMP | INV7_STRNG18_A
STRNG19_AMP | INV7_STRNG19_A
STRNG20_AMP | INV7_STRNG20_A
STRNG21_AMP | INV7_STRNG21_A
STRNG22_AMP | INV7_STRNG22_A
STRNG23_AMP | INV7_STRNG23_A
STRNG24_AMP | INV7_STRNG24_A
STRNG25_AMP | INV7_STRNG25_A
STRNG26_AMP | INV7_STRNG26_A
STRNG27_AMP | INV7_STRNG27_A
STRNG28_AMP | INV7_STRNG28_A
STRNG29_AMP | INV7_STRNG29_A
STRNG30_AMP | INV7_STRNG30_A
STRNG31_AMP | INV7_STRNG31_A
STRNG32_AMP | INV7_STRNG32_A
WORK_STATE | INV7_WORK_STATE
FAULT_CODE | INV7_FAULT_CODE
NOMINAL KW | INV8_N_KW
DPY | INV8_DPY
TPY | INV8_TPY
TOT_RUN_TIME | INV8_TOT_RUN_TIME
INTERNAL TEMP | INV8_TEMP
KVA | INV8_KVA
TOT_DC_PWR | INV8_DC_PWR
RYPH_VOLT | INV8_RY_VOLT
YBPH_VOLT | INV8_YB_VOLT
BRPH_VOLT | INV8_BR_VOLT
RPH_AMP | INV8_R_AMP
YPH_AMP | INV8_Y_AMP
BPH_AMP | INV8_B_AMP
KW | INV8_KW
KVAR | INV8_KVAR
PF | INV8_PF
HZ | INV8_HZ
MPY | INV8_MPY
DAILY_RUN_TIME | INV8_DAY_RUN_TIME
MPPT1_VOLT | INV8_MPPT1_V
MPPT1_AMP | INV8_MPPT1_A
MPPT2_VOLT | INV8_MPPT2_V
MPPT2_AMP | INV8_MPPT2_A
MPPT3_VOLT | INV8_MPPT3_V
MPPT3_AMP | INV8_MPPT3_A
MPPT4_VOLT | INV8_MPPT4_V
MPPT4_AMP | INV8_MPPT4_A
MPPT5_VOLT | INV8_MPPT5_V
MPPT5_AMP | INV8_MPPT5_A
MPPT6_VOLT | INV8_MPPT6_V
MPPT6_AMP | INV8_MPPT6_A
MPPT7_VOLT | INV8_MPPT7_V
MPPT7_AMP | INV8_MPPT7_A
MPPT8_VOLT | INV8_MPPT8_V
MPPT8_AMP | INV8_MPPT8_A
MPPT9_VOLT | INV8_MPPT9_V
MPPT9_AMP | INV8_MPPT9_A
MPPT10_VOLT | INV8_MPPT10_V
MPPT10_AMP | INV8_MPPT10_A
MPPT11_VOLT | INV8_MPPT11_V
MPPT11_AMP | INV8_MPPT11_A
MPPT12_VOLT | INV8_MPPT12_V
MPPT12_AMP | INV8_MPPT12_A
MPPT13_VOLT | INV8_MPPT13_V
MPPT13_AMP | INV8_MPPT13_A
MPPT14_VOLT | INV8_MPPT14_V
MPPT14_AMP | INV8_MPPT14_A
MPPT15_VOLT | INV8_MPPT15_V
MPPT15_AMP | INV8_MPPT15_A
MPPT16_VOLT | INV8_MPPT16_V
MPPT16_AMP | INV8_MPPT16_A
STRNG1_AMP | INV8_STRNG1_A
STRNG2_AMP | INV8_STRNG2_A
STRNG3_AMP | INV8_STRNG3_A
STRNG4_AMP | INV8_STRNG4_A
STRNG5_AMP | INV8_STRNG5_A
STRNG6_AMP | INV8_STRNG6_A
STRNG7_AMP | INV8_STRNG7_A
STRNG8_AMP | INV8_STRNG8_A
STRNG9_AMP | INV8_STRNG9_A
STRNG10_AMP | INV8_STRNG10_A
STRNG11_AMP | INV8_STRNG11_A
STRNG12_AMP | INV8_STRNG12_A
STRNG13_AMP | INV8_STRNG13_A
STRNG14_AMP | INV8_STRNG14_A
STRNG15_AMP | INV8_STRNG15_A
STRNG16_AMP | INV8_STRNG16_A
STRNG17_AMP | INV8_STRNG17_A
STRNG18_AMP | INV8_STRNG18_A
STRNG19_AMP | INV8_STRNG19_A
STRNG20_AMP | INV8_STRNG20_A
STRNG21_AMP | INV8_STRNG21_A
STRNG22_AMP | INV8_STRNG22_A
STRNG23_AMP | INV8_STRNG23_A
STRNG24_AMP | INV8_STRNG24_A
STRNG25_AMP | INV8_STRNG25_A
STRNG26_AMP | INV8_STRNG26_A
STRNG27_AMP | INV8_STRNG27_A
STRNG28_AMP | INV8_STRNG28_A
STRNG29_AMP | INV8_STRNG29_A
STRNG30_AMP | INV8_STRNG30_A
STRNG31_AMP | INV8_STRNG31_A
STRNG32_AMP | INV8_STRNG32_A
WORK_STATE | INV8_WORK_STATE
FAULT_CODE | INV8_FAULT_CODE
NOMINAL KW | INV9_N_KW
DPY | INV9_DPY
TPY | INV9_TPY
TOT_RUN_TIME | INV9_TOT_RUN_TIME
INTERNAL TEMP | INV9_TEMP
KVA | INV9_KVA
TOT_DC_PWR | INV9_DC_PWR
RYPH_VOLT | INV9_RY_VOLT
YBPH_VOLT | INV9_YB_VOLT
BRPH_VOLT | INV9_BR_VOLT
RPH_AMP | INV9_R_AMP
YPH_AMP | INV9_Y_AMP
BPH_AMP | INV9_B_AMP
KW | INV9_KW
KVAR | INV9_KVAR
PF | INV9_PF
HZ | INV9_HZ
MPY | INV9_MPY
DAILY_RUN_TIME | INV9_DAY_RUN_TIME
MPPT1_VOLT | INV9_MPPT1_V
MPPT1_AMP | INV9_MPPT1_A
MPPT2_VOLT | INV9_MPPT2_V
MPPT2_AMP | INV9_MPPT2_A
MPPT3_VOLT | INV9_MPPT3_V
MPPT3_AMP | INV9_MPPT3_A
MPPT4_VOLT | INV9_MPPT4_V
MPPT4_AMP | INV9_MPPT4_A
MPPT5_VOLT | INV9_MPPT5_V
MPPT5_AMP | INV9_MPPT5_A
MPPT6_VOLT | INV9_MPPT6_V
MPPT6_AMP | INV9_MPPT6_A
MPPT7_VOLT | INV9_MPPT7_V
MPPT7_AMP | INV9_MPPT7_A
MPPT8_VOLT | INV9_MPPT8_V
MPPT8_AMP | INV9_MPPT8_A
MPPT9_VOLT | INV9_MPPT9_V
MPPT9_AMP | INV9_MPPT9_A
MPPT10_VOLT | INV9_MPPT10_V
MPPT10_AMP | INV9_MPPT10_A
MPPT11_VOLT | INV9_MPPT11_V
MPPT11_AMP | INV9_MPPT11_A
MPPT12_VOLT | INV9_MPPT12_V
MPPT12_AMP | INV9_MPPT12_A
MPPT13_VOLT | INV9_MPPT13_V
MPPT13_AMP | INV9_MPPT13_A
MPPT14_VOLT | INV9_MPPT14_V
MPPT14_AMP | INV9_MPPT14_A
MPPT15_VOLT | INV9_MPPT15_V
MPPT15_AMP | INV9_MPPT15_A
MPPT16_VOLT | INV9_MPPT16_V
MPPT16_AMP | INV9_MPPT16_A
STRNG1_AMP | INV9_STRNG1_A
STRNG2_AMP | INV9_STRNG2_A
STRNG3_AMP | INV9_STRNG3_A
STRNG4_AMP | INV9_STRNG4_A
STRNG5_AMP | INV9_STRNG5_A
STRNG6_AMP | INV9_STRNG6_A
STRNG7_AMP | INV9_STRNG7_A
STRNG8_AMP | INV9_STRNG8_A
STRNG9_AMP | INV9_STRNG9_A
STRNG10_AMP | INV9_STRNG10_A
STRNG11_AMP | INV9_STRNG11_A
STRNG12_AMP | INV9_STRNG12_A
STRNG13_AMP | INV9_STRNG13_A
STRNG14_AMP | INV9_STRNG14_A
STRNG15_AMP | INV9_STRNG15_A
STRNG16_AMP | INV9_STRNG16_A
STRNG17_AMP | INV9_STRNG17_A
STRNG18_AMP | INV9_STRNG18_A
STRNG19_AMP | INV9_STRNG19_A
STRNG20_AMP | INV9_STRNG20_A
STRNG21_AMP | INV9_STRNG21_A
STRNG22_AMP | INV9_STRNG22_A
STRNG23_AMP | INV9_STRNG23_A
STRNG24_AMP | INV9_STRNG24_A
STRNG25_AMP | INV9_STRNG25_A
STRNG26_AMP | INV9_STRNG26_A
STRNG27_AMP | INV9_STRNG27_A
STRNG28_AMP | INV9_STRNG28_A
STRNG29_AMP | INV9_STRNG29_A
STRNG30_AMP | INV9_STRNG30_A
STRNG31_AMP | INV9_STRNG31_A
STRNG32_AMP | INV9_STRNG32_A
WORK_STATE | INV9_WORK_STATE
FAULT_CODE | INV9_FAULT_CODE
NOMINAL KW | INV10_N_KW
DPY | INV10_DPY
TPY | INV10_TPY
TOT_RUN_TIME | INV10_TOT_RUN_TIME
INTERNAL TEMP | INV10_TEMP
KVA | INV10_KVA
TOT_DC_PWR | INV10_DC_PWR
RYPH_VOLT | INV10_RY_VOLT
YBPH_VOLT | INV10_YB_VOLT
BRPH_VOLT | INV10_BR_VOLT
RPH_AMP | INV10_R_AMP
YPH_AMP | INV10_Y_AMP
BPH_AMP | INV10_B_AMP
KW | INV10_KW
KVAR | INV10_KVAR
PF | INV10_PF
HZ | INV10_HZ
MPY | INV10_MPY
DAILY_RUN_TIME | INV10_DAY_RUN_TIME
MPPT1_VOLT | INV10_MPPT1_V
MPPT1_AMP | INV10_MPPT1_A
MPPT2_VOLT | INV10_MPPT2_V
MPPT2_AMP | INV10_MPPT2_A
MPPT3_VOLT | INV10_MPPT3_V
MPPT3_AMP | INV10_MPPT3_A
MPPT4_VOLT | INV10_MPPT4_V
MPPT4_AMP | INV10_MPPT4_A
MPPT5_VOLT | INV10_MPPT5_V
MPPT5_AMP | INV10_MPPT5_A
MPPT6_VOLT | INV10_MPPT6_V
MPPT6_AMP | INV10_MPPT6_A
MPPT7_VOLT | INV10_MPPT7_V
MPPT7_AMP | INV10_MPPT7_A
MPPT8_VOLT | INV10_MPPT8_V
MPPT8_AMP | INV10_MPPT8_A
MPPT9_VOLT | INV10_MPPT9_V
MPPT9_AMP | INV10_MPPT9_A
MPPT10_VOLT | INV10_MPPT10_V
MPPT10_AMP | INV10_MPPT10_A
MPPT11_VOLT | INV10_MPPT11_V
MPPT11_AMP | INV10_MPPT11_A
MPPT12_VOLT | INV10_MPPT12_V
MPPT12_AMP | INV10_MPPT12_A
MPPT13_VOLT | INV10_MPPT13_V
MPPT13_AMP | INV10_MPPT13_A
MPPT14_VOLT | INV10_MPPT14_V
MPPT14_AMP | INV10_MPPT14_A
MPPT15_VOLT | INV10_MPPT15_V
MPPT15_AMP | INV10_MPPT15_A
MPPT16_VOLT | INV10_MPPT16_V
MPPT16_AMP | INV10_MPPT16_A
STRNG1_AMP | INV10_STRNG1_A
STRNG2_AMP | INV10_STRNG2_A
STRNG3_AMP | INV10_STRNG3_A
STRNG4_AMP | INV10_STRNG4_A
STRNG5_AMP | INV10_STRNG5_A
STRNG6_AMP | INV10_STRNG6_A
STRNG7_AMP | INV10_STRNG7_A
STRNG8_AMP | INV10_STRNG8_A
STRNG9_AMP | INV10_STRNG9_A
STRNG10_AMP | INV10_STRNG10_A
STRNG11_AMP | INV10_STRNG11_A
STRNG12_AMP | INV10_STRNG12_A
STRNG13_AMP | INV10_STRNG13_A
STRNG14_AMP | INV10_STRNG14_A
STRNG15_AMP | INV10_STRNG15_A
STRNG16_AMP | INV10_STRNG16_A
STRNG17_AMP | INV10_STRNG17_A
STRNG18_AMP | INV10_STRNG18_A
STRNG19_AMP | INV10_STRNG19_A
STRNG20_AMP | INV10_STRNG20_A
STRNG21_AMP | INV10_STRNG21_A
STRNG22_AMP | INV10_STRNG22_A
STRNG23_AMP | INV10_STRNG23_A
STRNG24_AMP | INV10_STRNG24_A
STRNG25_AMP | INV10_STRNG25_A
STRNG26_AMP | INV10_STRNG26_A
STRNG27_AMP | INV10_STRNG27_A
STRNG28_AMP | INV10_STRNG28_A
STRNG29_AMP | INV10_STRNG29_A
STRNG30_AMP | INV10_STRNG30_A
STRNG31_AMP | INV10_STRNG31_A
STRNG32_AMP | INV10_STRNG32_A
WORK_STATE | INV10_WORK_STATE
FAULT_CODE | INV10_FAULT_CODE
WMS CO2
WMS CUF
WMS PR
WMS DNI KWH
AUX kVArhI WI
AUX KWHE F
AUX KWHI F
AUX KWHE
AUX KWHI
AUX HZ
AUX TOT KVA
AUX BPH KVA
AUX YPH KVA
AUX RPH KVA
AUX TOT KVAR
AUX BPH KVAR
AUX YPH KVAR
AUX RPH KVAR
AUX TOT KW
AUX BPH KW
AUX YPH KW
AUX RPH KW
AUX AVG PF
AUX TOT AMP
AUX BPH AMP
AUX YPH AMP
AUX RPH AMP
AUX BR VOLT
AUX YB VOLT
AUX RY VOLT
AUX AVG VOLT
AUX BPH N VOLT
AUX YPH N VOLT
AUX RPH N VOLT
INC KVARHE1
INC KVARHE
INC KVARHI1
INC KVARHI
INC KVAHE
INC KVAHI
INC KWHE
INC KWHI
INC TOT KVA
INC B KVA
INC Y KVA
INC R KVA
INC TOT KVAR
INV2 MOD3 OT WARNING
INV2 MOD3 AMP12
INV2 MOD3 AMP11
INV2 MOD3 AMP10
INV2 MOD3 AMP9
INV2 MOD3 AMP8
INV2 MOD3 AMP7
INV2 MOD3 AMP6
INV2 MOD3 AMP5
INV2 MOD3 AMP4
INV2 MOD3 AMP3
INV2 MOD3 AMP2
INV2 MOD3 AMP1
INV2 MOD3 CO2
INV2 MOD3 APY
INV2 MOD3 ALARM STAT
INV2 MOD3 WORKING STAT
INV2 MOD3 MOD TEMP6
INV2 MOD3 MOD TEMP5
INV2 MOD3 MOD TEMP4
INV2 MOD3 MOD TEMP3
INV2 MOD3 MOD TEMP2
INV2 MOD3 MOD TEMP1
INV2 MOD3 NODE STAT2
INV2 MOD3 NODE STAT1
INV2 MOD3 FAULT STAT3
INV2 MOD3 FAULT STAT2
INV2 MOD3 FAULT STAT1
INV2 MOD3 EFFICIENCY
INV2 MOD3 HZ
INV2 MOD3 PF
INV2 MOD3 KVAR
INV2 MOD3 KW
INV2 MOD3 B AMP
INV2 MOD3 Y AMP
INV2 MOD3 R AMP
INV2 MOD3 BR VOLT
INV2 MOD3 YB VOLT
INV2 MOD3 RY VOLT
INV2 MOD3 DC PWR
INV2 MOD3 DC AMP
INV2 MOD3 DC VOLT
INV2 MOD3 TEMP
INV2 MOD3 TOT RUN TIME
INV2 MOD3 DGC
INV2 MOD3 TPY
INV2 MOD3 MPY
INV2 MOD3 DPY
INV2 MOD2 OT WARNING
INV2 MOD2 AMP12
INV2 MOD2 AMP11
INV2 MOD2 AMP10
INV2 MOD2 AMP9
INV2 MOD2 AMP8
INV2 MOD2 AMP7
INV2 MOD2 AMP6
INV2 MOD2 AMP5
INV2 MOD2 AMP4
INV2 MOD2 AMP3
INV2 MOD2 AMP2
INV2 MOD2 AMP1
INV2 MOD2 CO2
INV2 MOD2 APY
INV2 MOD2 ALARM STAT
INV2 MOD2 WORKING STAT
INV2 MOD2 MOD TEMP6
INV2 MOD2 MOD TEMP5
INV2 MOD2 MOD TEMP4
INV2 MOD2 MOD TEMP3
INV2 MOD2 MOD TEMP2
INV2 MOD2 MOD TEMP1
INV2 MOD2 NODE STAT2
INV2 MOD2 NODE STAT1
INV2 MOD2 FAULT STAT3
INV2 MOD2 FAULT STAT2
INV2 MOD2 FAULT STAT1
INV2 MOD2 EFFICIENCY
INV2 MOD2 HZ
INV2 MOD2 PF
INV2 MOD2 KVAR
INV2 MOD2 KW
INV2 MOD2 B AMP
INV2 MOD2 Y AMP
INV2 MOD2 R AMP
INV2 MOD2 BR VOLT
INV2 MOD2 YB VOLT
INV2 MOD2 RY VOLT
INV2 MOD2 DC PWR
INV2 MOD2 DC AMP
INV2 MOD2 DC VOLT
INV2 MOD2 TEMP
INV2 MOD2 TOT RUN TIME
INV2 MOD2 DGC
INV2 MOD2 TPY
INV2 MOD2 MPY
INV2 MOD2 DPY
INV2 MOD1 OT WARNING
INV2 MOD1 AMP12
INV2 MOD1 AMP11
INV2 MOD1 AMP10
INV2 MOD1 AMP9
INV2 MOD1 AMP8
INV2 MOD1 AMP7
INV2 MOD1 AMP6
INV2 MOD1 AMP5
INV2 MOD1 AMP4
INV2 MOD1 AMP3
INV2 MOD1 AMP2
INV2 MOD1 AMP1
INV2 MOD1 CO2
INV2 MOD1 APY
INV2 MOD1 ALARM STAT
INV2 MOD1 WORKING STAT
INV2 MOD1 MOD TEMP6
INV2 MOD1 MOD TEMP5
INV2 MOD1 MOD TEMP4
INV2 MOD1 MOD TEMP3
INV2 MOD1 MOD TEMP2
INV2 MOD1 MOD TEMP1
INV2 MOD1 NODE STAT2
INV2 MOD1 NODE STAT1
INV2 MOD1 FAULT STAT3
INV2 MOD1 FAULT STAT2
INV2 MOD1 FAULT STAT1
INV2 MOD1 EFFICIENCY
INV2 MOD1 HZ
INV2 MOD1 PF
INV2 MOD1 KVAR
INV2 MOD1 KW
INV2 MOD1 B AMP
INV2 MOD1 Y AMP
INV2 MOD1 R AMP
INV2 MOD1 BR VOLT
INV2 MOD1 YB VOLT
INV2 MOD1 RY VOLT
INV2 MOD1 DC PWR
INV2 MOD1 DC AMP
INV2 MOD1 DC VOLT
INV2 MOD1 TEMP
INV2 MOD1 TOT RUN TIME
INV2 MOD1 DGC
INV2 MOD1 TPY
INV2 MOD1 MPY
INV2 MOD1 DPY
INV2 APY
INV2 RATED KVAR
INV2 HZ
INV2 PF
INV2 KVA
INV2 KVAR
INV2 KW
INV2 B AMP
INV2 Y AMP
INV2 R AMP
INV2 BR VOLT
INV2 YB VOLT
INV2 RY VOLT
INV2 DC PWR
INV2 TOT RUN TIME
INV2 DGCM
INV2 CO2
INV2 TPY
INV2 MPY
INV2 DPY
INV2 RATED KW
INV1 MOD3 OT WARNING
INV1 MOD3 AMP12
INV1 MOD3 AMP11
INV1 MOD3 AMP10
INV1 MOD3 AMP9
INV1 MOD3 AMP8
INV1 MOD3 AMP7
INV1 MOD3 AMP6
INV1 MOD3 AMP5
INV1 MOD3 AMP4
INV1 MOD3 AMP3
INV1 MOD3 AMP2
INV1 MOD3 AMP1
INV1 MOD3 CO2
INV1 MOD3 APY
INV1 MOD3 ALARM STAT
INV1 MOD3 WORKING STAT
INV1 MOD3 MOD TEMP6
INV1 MOD3 MOD TEMP5
INV1 MOD3 MOD TEMP4
INV1 MOD3 MOD TEMP3
INV1 MOD3 MOD TEMP2
INV1 MOD3 MOD TEMP1
INV1 MOD3 NODE STAT2
INV1 MOD3 NODE STAT1
INV1 MOD3 FAULT STAT3
INV1 MOD3 FAULT STAT2
INV1 MOD3 FAULT STAT1
INV1 MOD3 EFFICIENCY
INV1 MOD3 HZ
INV1 MOD3 PF
INV1 MOD3 KVAR
INV1 MOD3 KW
INV1 MOD3 B AMP
INV1 MOD3 Y AMP
INV1 MOD3 R AMP
INV1 MOD3 BR VOLT
INV1 MOD3 YB VOLT
INV1 MOD3 RY VOLT
INV1 MOD3 DC PWR
INV1 MOD3 DC AMP
INV1 MOD3 DC VOLT
INV1 MOD3 TEMP
INV1 MOD3 TOT RUN TIME
INV1 MOD3 DGC
INV1 MOD3 TPY
INV1 MOD3 MPY
INV1 MOD3 DPY
INV1 MOD2 OT WARNING
INV1 MOD2 AMP12
INV1 MOD2 AMP11
INV1 MOD2 AMP10
INV1 MOD2 AMP9
INV1 MOD2 AMP8
INV1 MOD2 AMP7
INV1 MOD2 AMP6
INV1 MOD2 AMP5
INV1 MOD2 AMP4
INV1 MOD2 AMP3
INV1 MOD2 AMP2
INV1 MOD2 AMP1
INV1 MOD2 CO2
INV1 MOD2 APY
INV1 MOD2 ALARM STAT
INV1 MOD2 WORKING STAT
INV1 MOD2 MOD TEMP6
INV1 MOD2 MOD TEMP5
INV1 MOD2 MOD TEMP4
INV1 MOD2 MOD TEMP3
INV1 MOD2 MOD TEMP2
INV1 MOD2 MOD TEMP1
INV1 MOD2 NODE STAT2
INV1 MOD2 NODE STAT1
INV1 MOD2 FAULT STAT3
INV1 MOD2 FAULT STAT2
INV1 MOD2 FAULT STAT1
INV1 MOD2 EFFICIENCY
INV1 MOD2 HZ
INV1 MOD2 PF
INV1 MOD2 KVAR
INV1 MOD2 KW
INV1 MOD2 B AMP
INV1 MOD2 Y AMP
INV1 MOD2 R AMP
INV1 MOD2 BR VOLT
INV1 MOD2 YB VOLT
INV1 MOD2 RY VOLT
INV1 MOD2 DC PWR
INV1 MOD2 DC AMP
INV1 MOD2 DC VOLT
INV1 MOD2 TEMP
INV1 MOD2 TOT RUN TIME
INV1 MOD2 DGC
INV1 MOD2 TPY
INV1 MOD2 MPY
INV1 MOD2 DPY
INV1 MOD1 OT WARNING
INV1 MOD1 AMP12
INV1 MOD1 AMP11
INV1 MOD1 AMP10
INV1 MOD1 AMP9
INV1 MOD1 AMP8
INV1 MOD1 AMP7
INV1 MOD1 AMP6
INV1 MOD1 AMP5
INV1 MOD1 AMP4
INV1 MOD1 AMP3
INV1 MOD1 AMP2
INV1 MOD1 AMP1
INV1 MOD1 CO2
INV1 MOD1 APY
INV1 MOD1 ALARM STAT
INV1 MOD1 WORKING STAT
INV1 MOD1 MOD TEMP6
INV1 MOD1 MOD TEMP5
INV1 MOD1 MOD TEMP4
INV1 MOD1 MOD TEMP3
INV1 MOD1 MOD TEMP2
INV1 MOD1 MOD TEMP1
INV1 MOD1 NODE STAT2
INV1 MOD1 NODE STAT1
INV1 MOD1 FAULT STAT3
INV1 MOD1 FAULT STAT2
INV1 MOD1 FAULT STAT1
INV1 MOD1 EFFICIENCY
INV1 MOD1 HZ
INV1 MOD1 PF
INV1 MOD1 KVAR
INV1 MOD1 KW
INV1 MOD1 B AMP
INV1 MOD1 Y AMP
INV1 MOD1 R AMP
INV1 MOD1 BR VOLT
INV1 MOD1 YB VOLT
INV1 MOD1 RY VOLT
INV1 MOD1 DC PWR
INV1 MOD1 DC AMP
INV1 MOD1 DC VOLT
INV1 MOD1 TEMP
INV1 MOD1 TOT RUN TIME
INV1 MOD1 DGC
INV1 MOD1 TPY
INV1 MOD1 MPY
INV1 MOD1 DPY
INV1 APY
INV1 RATED KVAR
INV1 HZ
INV1 PF
INV1 KVA
INV1 KVAR
INV1 KW
INV1 B AMP
INV1 Y AMP
INV1 R AMP
INV1 BR VOLT
INV1 YB VOLT
INV1 RY VOLT
INV1 DC PWR
INV1 TOT RUN TIME
INV1 DGCM
INV1 CO2
INV1 TPY
INV1 MPY
INV1 DPY
INV1 RATED KW
INC B KVAR
INC Y KVAR
INC R KVAR
INC TOT KW
INC B KW
INC Y KW
INC R KW
INC TOT AMP
INC AVG KV
INC HZ
INC PF
INC B AMP
INC Y AMP
INC R AMP
INC B KV
INC Y KV
INC R KV
INC BR KV
INC YB KV
INC RY KV
WMS DNI
WMS DHI
WMS WD
WMS WS
WMS GHI
WMS HUMID
WMS MOD TEMP
WMS TEMP
WMS RAIN
INV5 FAULT CODE
INV5 WORK STATE
INV5 STRNG32 A
INV5 STRNG31 A
INV5 STRNG30 A
INV5 STRNG29 A
INV5 STRNG28 A
INV5 STRNG27 A
INV5 STRNG26 A
INV5 STRNG25 A
INV5 STRNG24 A
INV5 STRNG23 A
INV5 STRNG22 A
INV5 STRNG21 A
INV5 STRNG20 A
INV5 STRNG19 A
INV5 STRNG18 A
INV5 STRNG17 A
INV5 STRNG16 A
INV5 STRNG15 A
INV5 STRNG14 A
INV5 STRNG13 A
INV5 STRNG12 A
INV5 STRNG11 A
INV5 STRNG10 A
INV5 STRNG9 A
INV5 STRNG8 A
INV5 STRNG7 A
INV5 STRNG6 A
INV5 STRNG5 A
INV5 STRNG4 A
INV5 STRNG3 A
INV5 STRNG2 A
INV5 STRNG1 A
INV5 MPPT16 A
INV5 MPPT16 V
INV5 MPPT15 A
INV5 MPPT15 V
INV5 MPPT14 A
INV5 MPPT14 V
INV5 MPPT13 A
INV5 MPPT13 V
INV5 MPPT12 A
INV5 MPPT12 V
INV5 MPPT11 A
INV5 MPPT11 V
INV5 MPPT10 A
INV5 MPPT10 V
INV5 MPPT9 A
INV5 MPPT9 V
INV5 MPPT8 A
INV5 MPPT8 V
INV5 MPPT7 A
INV5 MPPT7 V
INV5 MPPT6 A
INV5 MPPT6 V
INV5 MPPT5 A
INV5 MPPT5 V
INV5 MPPT4 A
INV5 MPPT4 V
INV5 MPPT3 A
INV5 MPPT3 V
INV5 MPPT2 A
INV5 MPPT2 V
INV5 MPPT1 A
INV5 MPPT1 V
INV5 DAY RUN TIME
INV5 MPY
INV5 HZ
INV5 PF
INV5 KVAR
INV5 KW
INV5 B AMP
INV5 Y AMP
INV5 R AMP
INV5 BR VOLT
INV5 YB VOLT
INV5 RY VOLT
INV5 DC PWR
INV5 KVA
INV5 TEMP
INV5 TOT RUN TIME
INV5 TPY
INV5 DPY
INV5 N KW
INV4 FAULT CODE
INV4 WORK STATE
INV4 STRNG32 A
INV4 STRNG31 A
INV4 STRNG30 A
INV4 STRNG29 A
INV4 STRNG28 A
INV4 STRNG27 A
INV4 STRNG26 A
INV4 STRNG25 A
INV4 STRNG24 A
INV4 STRNG23 A
INV4 STRNG22 A
INV4 STRNG21 A
INV4 STRNG20 A
INV4 STRNG19 A
INV4 STRNG18 A
INV4 STRNG17 A
INV4 STRNG16 A
INV4 STRNG15 A
INV4 STRNG14 A
INV4 STRNG13 A
INV4 STRNG12 A
INV4 STRNG11 A
INV4 STRNG10 A
INV4 STRNG9 A
INV4 STRNG8 A
INV4 STRNG7 A
INV4 STRNG6 A
INV4 STRNG5 A
INV4 STRNG4 A
INV4 STRNG3 A
INV4 STRNG2 A
INV4 STRNG1 A
INV4 MPPT16 A
INV4 MPPT16 V
INV4 MPPT15 A
INV4 MPPT15 V
INV4 MPPT14 A
INV4 MPPT14 V
INV4 MPPT13 A
INV4 MPPT13 V
INV4 MPPT12 A
INV4 MPPT12 V
INV4 MPPT11 A
INV4 MPPT11 V
INV4 MPPT10 A
INV4 MPPT10 V
INV4 MPPT9 A
INV4 MPPT9 V
INV4 MPPT8 A
INV4 MPPT8 V
INV4 MPPT7 A
INV4 MPPT7 V
INV4 MPPT6 A
INV4 MPPT6 V
INV4 MPPT5 A
INV4 MPPT5 V
INV4 MPPT4 A
INV4 MPPT4 V
INV4 MPPT3 A
INV4 MPPT3 V
INV4 MPPT2 A
INV4 MPPT2 V
INV4 MPPT1 A
INV4 MPPT1 V
INV4 DAY RUN TIME
INV4 MPY
INV4 HZ
INV4 PF
INV4 KVAR
INV4 KW
INV4 B AMP
INV4 Y AMP
INV4 R AMP
INV4 BR VOLT
INV4 YB VOLT
INV4 RY VOLT
INV4 DC PWR
INV4 KVA
INV4 TEMP
INV4 TOT RUN TIME
INV4 TPY
INV4 DPY
INV4 N KW
INV3 FAULT CODE
INV3 WORK STATE
INV3 STRNG32 A
INV3 STRNG31 A
INV3 STRNG30 A
INV3 STRNG29 A
INV3 STRNG28 A
INV3 STRNG27 A
INV3 STRNG26 A
INV3 STRNG25 A
INV3 STRNG24 A
INV3 STRNG23 A
INV3 STRNG22 A
INV3 STRNG21 A
INV3 STRNG20 A
INV3 STRNG19 A
INV3 STRNG18 A
INV3 STRNG17 A
INV3 STRNG16 A
INV3 STRNG15 A
INV3 STRNG14 A
INV3 STRNG13 A
INV3 STRNG12 A
INV3 STRNG11 A
INV3 STRNG10 A
INV3 STRNG9 A
INV3 STRNG8 A
INV3 STRNG7 A
INV3 STRNG6 A
INV3 STRNG5 A
INV3 STRNG4 A
INV3 STRNG3 A
INV3 STRNG2 A
INV3 STRNG1 A
INV3 MPPT16 A
INV3 MPPT16 V
INV3 MPPT15 A
INV3 MPPT15 V
INV3 MPPT14 A
INV3 MPPT14 V
INV3 MPPT13 A
INV3 MPPT13 V
INV3 MPPT12 A
INV3 MPPT12 V
INV3 MPPT11 A
INV3 MPPT11 V
INV3 MPPT10 A
INV3 MPPT10 V
INV3 MPPT9 A
INV3 MPPT9 V
INV3 MPPT8 A
INV3 MPPT8 V
INV3 MPPT7 A
INV3 MPPT7 V
INV3 MPPT6 A
INV3 MPPT6 V
INV3 MPPT5 A
INV3 MPPT5 V
INV3 MPPT4 A
INV3 MPPT4 V
INV3 MPPT3 A
INV3 MPPT3 V
INV3 MPPT2 A
INV3 MPPT2 V
INV3 MPPT1 A
INV3 MPPT1 V
INV3 DAY RUN TIME
INV3 MPY
INV3 HZ
INV3 PF
INV3 KVAR
INV3 KW
INV3 B AMP
INV3 Y AMP
INV3 R AMP
INV3 BR VOLT
INV3 YB VOLT
INV3 RY VOLT
INV3 DC PWR
INV3 KVA
INV3 TEMP
INV3 TOT RUN TIME
INV3 TPY
INV3 DPY
INV3 N KW
INV2 FAULT CODE
INV2 WORK STATE
INV2 STRNG32 A
INV2 STRNG31 A
INV2 STRNG30 A
INV2 STRNG29 A
INV2 STRNG28 A
INV2 STRNG27 A
INV2 STRNG26 A
INV2 STRNG25 A
INV2 STRNG24 A
INV2 STRNG23 A
INV2 STRNG22 A
INV2 STRNG21 A
INV2 STRNG20 A
INV2 STRNG19 A
INV2 STRNG18 A
INV2 STRNG17 A
INV2 STRNG16 A
INV2 STRNG15 A
INV2 STRNG14 A
INV2 STRNG13 A
INV2 STRNG12 A
INV2 STRNG11 A
INV2 STRNG10 A
INV2 STRNG9 A
INV2 STRNG8 A
INV2 STRNG7 A
INV2 STRNG6 A
INV2 STRNG5 A
INV2 STRNG4 A
INV2 STRNG3 A
INV2 STRNG2 A
INV2 STRNG1 A
INV2 MPPT16 A
INV2 MPPT16 V
INV2 MPPT15 A
INV2 MPPT15 V
INV2 MPPT14 A
INV2 MPPT14 V
INV2 MPPT13 A
INV2 MPPT13 V
INV2 MPPT12 A
INV2 MPPT12 V
INV2 MPPT11 A
INV2 MPPT11 V
INV2 MPPT10 A
INV2 MPPT10 V
INV2 MPPT9 A
INV2 MPPT9 V
INV2 MPPT8 A
INV2 MPPT8 V
INV2 MPPT7 A
INV2 MPPT7 V
INV2 MPPT6 A
INV2 MPPT6 V
INV2 MPPT5 A
INV2 MPPT5 V
INV2 MPPT4 A
INV2 MPPT4 V
INV2 MPPT3 A
INV2 MPPT3 V
INV2 MPPT2 A
INV2 MPPT2 V
INV2 MPPT1 A
INV2 MPPT1 V
INV2 DAY RUN TIME
INV2 MPY
INV2 HZ
INV2 PF
INV2 KVAR
INV2 KW
INV2 B AMP
INV2 Y AMP
INV2 R AMP
INV2 BR VOLT
INV2 YB VOLT
INV2 RY VOLT
INV2 DC PWR
INV2 KVA
INV2 TEMP
INV2 TOT RUN TIME
INV2 TPY
INV2 DPY
INV2 N KW
INV1 FAULT CODE
INV1 WORK STATE
INV1 STRNG32 A
INV1 STRNG31 A
INV1 STRNG30 A
INV1 STRNG29 A
INV1 STRNG28 A
INV1 STRNG27 A
INV1 STRNG26 A
INV1 STRNG25 A
INV1 STRNG24 A
INV1 STRNG23 A
INV1 STRNG22 A
INV1 STRNG21 A
INV1 STRNG20 A
INV1 STRNG19 A
INV1 STRNG18 A
INV1 STRNG17 A
INV1 STRNG16 A
INV1 STRNG15 A
INV1 STRNG14 A
INV1 STRNG13 A
INV1 STRNG12 A
INV1 STRNG11 A
INV1 STRNG10 A
INV1 STRNG9 A
INV1 STRNG8 A
INV1 STRNG7 A
INV1 STRNG6 A
INV1 STRNG5 A
INV1 STRNG4 A
INV1 STRNG3 A
INV1 STRNG2 A
INV1 STRNG1 A
INV1 MPPT16 A
INV1 MPPT16 V
INV1 MPPT15 A
INV1 MPPT15 V
INV1 MPPT14 A
INV1 MPPT14 V
INV1 MPPT13 A
INV1 MPPT13 V
INV1 MPPT12 A
INV1 MPPT12 V
INV1 MPPT11 A
INV1 MPPT11 V
INV1 MPPT10 A
INV1 MPPT10 V
INV1 MPPT9 A
INV1 MPPT9 V
INV1 MPPT8 A
INV1 MPPT8 V
INV1 MPPT7 A
INV1 MPPT7 V
INV1 MPPT6 A
INV1 MPPT6 V
INV1 MPPT5 A
INV1 MPPT5 V
INV1 MPPT4 A
INV1 MPPT4 V
INV1 MPPT3 A
INV1 MPPT3 V
INV1 MPPT2 A
INV1 MPPT2 V
INV1 MPPT1 A
INV1 MPPT1 V
INV1 DAY RUN TIME
INV1 MPY
INV1 HZ
INV1 PF
INV1 KVAR
INV1 KW
INV1 B AMP
INV1 Y AMP
INV1 R AMP
INV1 BR VOLT
INV1 YB VOLT
INV1 RY VOLT
INV1 DC PWR
INV1 KVA
INV1 TEMP
INV1 TOT RUN TIME
INV1 TPY
INV1 DPY
INV1 N KW
ACDB1 KVAH3
ACDB1 LV AVG VOLT
ACDB1 KVARHE
ACDB1 KVARHI
ACDB1 KVAHE
ACDB1 KVAHI
ACDB1 KWHE
ACDB1 KWHI
ACDB1 TOT KVA
ACDB1 B KVA
ACDB1 Y KVA
ACDB1 R KVA
ACDB1 TOT KVAR
ACDB1 B KVAR
ACDB1 Y KVAR
ACDB1 R KVAR
ACDB1 TOT KW
ACDB1 B KW
ACDB1 Y KW
ACDB1 R KW
ACDB1 TOT AMP
ACDB1 AVG KV
ACDB1 HZ
ACDB1 PF
ACDB1 B AMP
ACDB1 Y AMP
ACDB1 R AMP
ACDB1 B KV
ACDB1 Y KV
ACDB1 R KV
ACDB1 BR KV
ACDB1 YB KV
ACDB1 RY KV
T7
T6
INC KVAHE
INC KVAHI
T5
T4
T3
T2
T1
INC KWHE1
INC KWHI1
INC KWHE
INC KWHI
INC PF
INC HZ
INC TOT KVA
INC TOT KVAR
INC TOT KW1
INC TOT KW
INC B AMP
INC Y AMP
INC R AMP
INC BR KV
INC YB KV
INC RY KV